## Initial
SmartCalTM | Initial data |  |  | English | English | Selected Language
Version 2.10 2012-03 |  |  |  |  | Deutsch | 1
|  | Control Limits: | MT Control Limits (certified) |  | Français | Selected Temperature
Instrument identification |  |  |  |  | Italiano | 2
Company |  | Test temperature | 100°C |  | Español | 100°C
Instrument type |  | Switch-off criterion | Time (10 min) |  | Português | MT Control Limits (certified) | MT Control Limits (certified)
Instrument ID |  | Drying program | Standard |  | Русский (Russian) | MT Control Limits (standard) | MT Control Limits (standard)
Location |  | Display mode | %MC |  | 中文 (Chinese) | Manual input limits | - - - - - -
Contact Person |  |  |  |  | 日本語 (Japanese) |  | Manual input limits
[5 empty] | 한국어 (Korean) | Patched Control Limits | Selected Control Limits
[5 empty] | 0 | 1 | 1
[5 empty] | 0 | All header information?
[5 empty] | TODAY | FALSE
[5 empty] | 2012-10-23 | FALSE | -0.39818
[6 empty] | FALSE | -0.39818
[6 empty] | FALSE | -0.39818
[6 empty] | FALSE | -0.39818
[6 empty] | FALSE | -0.39818
[6 empty] | FALSE | -0.39818
[6 empty] | FALSE | -0.39818
[6 empty] | FALSE | -0.39818
[6 empty] | FALSE | -0.39818
[6 empty] | FALSE | -0.39818
70°C
100°C
130°C
160°C
other

## Report 70°C
| SmartCalTM |  | Performance test for Moisture Analyzer
Are D7 to D11 complete?
| Version 2.10 2012-03 |  | Test temperature 70°C | [10 empty] | FALSE | 0 | Control limits Source | Selected Language | Selected Temperature
Temperature number
[14 empty] | 1 |  | 1 | 1 | 100°C | 2
| Instrument identification | [5 empty] | Testing parameter |  |  | MT Control Limits [%MC] |  |  | Certified | Yes
|  | Company | [5 empty] | Switch-off criterion | Time (10 min) |  | Lower Limit 3.3 |  |  | No
|  | Instrument type | [5 empty] | Drying program | Standard |  | Upper Limit 4.3
|  | Instrument ID | [5 empty] | Display mode | %MC |  |  |  |  | ************
Location
|  | Contact Person |  |  |  |  | Perform test with cold instrument.
Control Limits: MT Control Limits
************
Test Results %MCN
Control Limits: MT Control Limits
************
Test temperature 70°C
MT Calibration limits
| Data reviewed by (signature and date) | [5 empty] | Reviewer's Comments | [6 empty] | Upper standard | 4.4
[14 empty] | Upper certified | 4.3
[14 empty] | Lower standard | 3.2
[14 empty] | Lower certified | 3.3
| SmartCalTM |  | Performance test for Moisture Analyzer | [6 empty] | Test temperature 70°C
2012-10-23
Version 2.10 2012-03
| Date | SmartCal Lot No. | Environmental conditions |  | Test Results |  |  | Remarks |  |  |  | Name
|  |  | %RH | °C | %MC | %MCN | Within Limits | e.g. Package damaged, adjustment done etc. | [7 empty] | ENTRIES COMPLETE? | REPORTED ANSWERS | PLOTTED ANSWERS | MT Control Limits (certified)
[14 empty] | LOWER LIMIT | UPPER LIMIT |  |  |  | LOWER LIMIT | UPPER LIMIT
1 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
2 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
3 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
4 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
5 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
6 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
7 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
8 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
9 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
10 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
11 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
12 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
13 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
14 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
15 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
16 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
17 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
18 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
19 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
20 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
21 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
22 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
23 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
24 | [13 empty] | 3.3 | 4.3 | FALSE | -0.39818 | #N/A
| Data reviewed by (signature and date) |  |  |  |  | Reviewer's Comments

## Report 100°C
| SmartCalTM |  | Performance test for Moisture Analyzer
Are D7 to D11 complete?
| Version 2.10 2012-03 |  | Test temperature 100°C | [10 empty] | FALSE | 0 | Control limits Source | Selected Language | Selected Temperature
Temperature number
[14 empty] | 2 |  | 1 | 1 | 100°C | 2
| Instrument identification | [5 empty] | Testing parameter |  |  | MT Control Limits [%MC] |  |  | Certified | Yes
|  | Company | [5 empty] | Switch-off criterion | Time (10 min) |  | Lower Limit 5.3 |  |  | No
|  | Instrument type | [5 empty] | Drying program | Standard |  | Upper Limit 6.3
|  | Instrument ID | [5 empty] | Display mode | %MC |  |  |  |  | ************
Location
|  | Contact Person |  |  |  |  | Perform test with cold instrument.
Control Limits: MT Control Limits
************
Test Results %MCN
Control Limits: MT Control Limits
************
Test temperature 100°C
MT Calibration limits
| Data reviewed by (signature and date) | [5 empty] | Reviewer's Comments | [6 empty] | Upper standard | 6.4
[14 empty] | Upper certified | 6.3
[14 empty] | Lower standard | 5.2
[14 empty] | Lower certified | 5.3
| SmartCalTM |  | Performance test for Moisture Analyzer | [6 empty] | Test temperature 100°C
2012-10-23
Version 2.10 2012-03
| Date | SmartCal Lot No. | Environmental conditions |  | Test Results |  |  | Remarks |  |  |  | Name
|  |  | %RH | °C | %MC | %MCN | Within Limits | e.g. Package damaged, adjustment done etc. | [7 empty] | ENTRIES COMPLETE? | REPORTED ANSWERS | PLOTTED ANSWERS | MT Control Limits (certified)
[14 empty] | LOWER LIMIT | UPPER LIMIT |  |  |  | LOWER LIMIT | UPPER LIMIT
1 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
2 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
3 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
4 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
5 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
6 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
7 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
8 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
9 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
10 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
11 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
12 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
13 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
14 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
15 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
16 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
17 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
18 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
19 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
20 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
21 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
22 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
23 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
24 | [13 empty] | 5.3 | 6.3 | FALSE | -0.39818 | #N/A
| Data reviewed by (signature and date) |  |  |  |  | Reviewer's Comments

## Report 130°C
| SmartCalTM |  | Performance test for Moisture Analyzer
Are D7 to D11 complete?
| Version 2.10 2012-03 |  | Test temperature 130°C | [10 empty] | FALSE | 0 | Control limits Source | Selected Language | Selected Temperature
Temperature number
[14 empty] | 3 |  | 1 | 1 | 100°C | 2
| Instrument identification | [5 empty] | Testing parameter |  |  | MT Control Limits [%MC] |  |  | Certified | Yes
|  | Company | [5 empty] | Switch-off criterion | Time (10 min) |  | Lower Limit 7.5 |  |  | No
|  | Instrument type | [5 empty] | Drying program | Standard |  | Upper Limit 8.7
|  | Instrument ID | [5 empty] | Display mode | %MC |  |  |  |  | ************
Location
|  | Contact Person |  |  |  |  | Perform test with cold instrument.
Control Limits: MT Control Limits
************
Test Results %MCN
Control Limits: MT Control Limits
************
Test temperature 130°C
MT Calibration limits
| Data reviewed by (signature and date) | [5 empty] | Reviewer's Comments | [6 empty] | Upper standard | 8.8
[14 empty] | Upper certified | 8.7
[14 empty] | Lower standard | 7.4
[14 empty] | Lower certified | 7.5
| SmartCalTM |  | Performance test for Moisture Analyzer | [6 empty] | Test temperature 130°C
2012-10-23
Version 2.10 2012-03
| Date | SmartCal Lot No. | Environmental conditions |  | Test Results |  |  | Remarks |  |  |  | Name
|  |  | %RH | °C | %MC | %MCN | Within Limits | e.g. Package damaged, adjustment done etc. | [7 empty] | ENTRIES COMPLETE? | REPORTED ANSWERS | PLOTTED ANSWERS | MT Control Limits (certified)
[14 empty] | LOWER LIMIT | UPPER LIMIT |  |  |  | LOWER LIMIT | UPPER LIMIT
1 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
2 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
3 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
4 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
5 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
6 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
7 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
8 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
9 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
10 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
11 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
12 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
13 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
14 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
15 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
16 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
17 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
18 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
19 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
20 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
21 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
22 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
23 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
24 | [13 empty] | 7.5 | 8.7 | FALSE | -0.39818 | #N/A
| Data reviewed by (signature and date) |  |  |  |  | Reviewer's Comments

## Report 160°C
| SmartCalTM |  | Performance test for Moisture Analyzer
Are D7 to D11 complete?
| Version 2.10 2012-03 |  | Test temperature 160°C | [10 empty] | FALSE | 0 | Control limits Source | Selected Language | Define Limits Temperature
Temperature number
[14 empty] | 4 |  | 1 | 1 | 100°C | 2
| Instrument identification | [5 empty] | Testing parameter |  |  | MT Control Limits [%MC] |  |  | Certified | Yes
|  | Company | [5 empty] | Switch-off criterion | Time (10 min) |  | Lower Limit 10.0 |  |  | No |  | 5
|  | Instrument type | [5 empty] | Drying program | Standard |  | Upper Limit 11.6
|  | Instrument ID | [5 empty] | Display mode | %MC |  |  |  |  | ************
Location
|  | Contact Person |  |  |  |  | Perform test with cold instrument.
Control Limits: MT Control Limits
************
Test Results %MCN
Control Limits: MT Control Limits
************
Test temperature 160°C
MT Calibration limits
| Data reviewed by (signature and date) | [5 empty] | Reviewer's Comments | [6 empty] | Upper standard | 11.7
[14 empty] | Upper certified | 11.6
[14 empty] | Lower standard | 9.9
[14 empty] | Lower certified | 10
| SmartCalTM |  | Performance test for Moisture Analyzer | [6 empty] | Test temperature 160°C
2012-10-23
Version 2.10 2012-03
| Date | SmartCal Lot No. | Environmental conditions |  | Test Results |  |  | Remarks |  |  |  | Name
|  |  | %RH | °C | %MC | %MCN | Within Limits | e.g. Package damaged, adjustment done etc. | [7 empty] | ENTRIES COMPLETE? | REPORTED ANSWERS | PLOTTED ANSWERS | MT Control Limits (certified)
[14 empty] | LOWER LIMIT | UPPER LIMIT |  |  |  | LOWER LIMIT | UPPER LIMIT
1 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
2 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
3 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
4 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
5 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
6 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
7 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
8 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
9 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
10 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
11 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
12 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
13 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
14 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
15 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
16 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
17 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
18 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
19 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
20 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
21 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
22 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
23 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
24 | [13 empty] | 10 | 11.6 | FALSE | -0.39818 | #N/A
| Data reviewed by (signature and date) |  |  |  |  | Reviewer's Comments

## Report Other
| SmartCalTM |  | Performance test for Moisture Analyzer
Are D7 to D11 complete?
| Version 2.10 2012-03 | [9 empty] | FALSE | 0 | Control limits Source | Selected Language | Define Limits Temperature
Temperature number
[11 empty] | 5 |  | 1 | 1 | 100°C | 2
| Instrument identification | [5 empty] | Testing parameter |  |  |  | Yes
|  | Company | [5 empty] | Switch-off criterion | Time (10 min) |  | No
|  | Instrument type | [5 empty] | Drying program | Standard
|  | Instrument ID | [5 empty] | Display mode | %MC |  | ************
Location
|  | Contact Person |  |  |  |  | Perform test with cold instrument.
Control Limits: MT Control Limits
************
Test Results %MCN
Control Limits: MT Control Limits
************
MT Calibration limits
| Data reviewed by (signature and date) | [5 empty] | Reviewer's Comments |  |  |  | Upper standard
Upper certified
Lower standard
Lower certified
| SmartCalTM |  | Performance test for Moisture Analyzer
2012-10-23
Version 2.10 2012-03
| Date | SmartCal Lot No. | Environmental conditions |  | Test Results |  |  | Remarks |  | Name
|  |  | %RH | °C | %MC | %MCN | Within Limits | e.g. Package damaged, adjustment done etc. |  |  |  |  | ENTRIES COMPLETE? | REPORTED ANSWERS | PLOTTED ANSWERS
[11 empty] | LOWER LIMIT | UPPER LIMIT
1 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
2 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
3 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
4 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
5 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
6 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
7 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
8 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
9 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
10 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
11 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
12 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
13 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
14 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
15 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
16 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
17 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
18 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
19 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
20 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
21 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
22 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
23 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
24 | [10 empty] | 0 | 0 | FALSE | -0.39818 | #N/A
| Data reviewed by (signature and date) |  |  |  |  | Reviewer's Comments

## Def (hidden)
Ort |  | English | Deutsch | Français | Italiano | Español | Português | Русский (Russian) | 中文 (Chinese) | 日本語 (Japanese) | 한국어 (Korean)
| Measurement Report | Measurement Report | Messprotokoll | Rapport de mesure | Registro delle misure | Informe de medición | Registro de Medição | Протокол измерения | 测试记录表 | 測定記録 | 측정 기록
| Initial data | Initial data | Initial data | Initial data | Initial data | Initial data | Initial data | Initial data | Initial data | Initial data | Initial data
| Report | Report | Protokoll | Rapport | Registro | Informe | Registro | Протокол | 记录 | レポート | 기록
| Performance test for Moisture Analyzer | Performance test for Moisture Analyzer | Funktionstest für Moisture Analyzer | Test de performance pour le dessiccateur | Test per analizzatore di umidità | Test de rendimiento para analizador de humedad | Teste de esempenho para o analisador de umidade | Проверка анализатора влажности | 卤素水分测定仪性能测试 | 水分計の性能検査 | 수분분석기 성능시험
| Test temperature | Test temperature | Testtemperatur | Test de température | Temperatura test | Test de temperatura | Temperatura de teste | Температура проверки | 测试温度 | 検査温度 | 시험 온도
| Instrument identification | Instrument identification | Instrumentidentifizierung | Identification instrument | Identificazione strumento | Identificación del instrumento | Identificação do instrumento | Идентификация прибора | 产品标识 | 製品仕様 | 제품 식별
| Company | Company | Firma | Société | Ditta | Empresa | Empresa | Компания | 公司 | 会社名 | 회사
| Instrument type | Instrument type | Instrument | Type d'instrument | Tipo di strumento | Tipo de instrumento | Tipo de instrumento | Тип прибора | 仪器型号 | 製品型式 | 기기 종류
| Instrument ID | Instrument ID | Instrument ID | ID instrument | ID strumento | ID de instrumento | ID do instrumento | ID прибора | 仪器标识 | 製品ID | 기기 ID
| Location | Location | Einsatzort | Emplacement | Localizzazione | Ubicación | Localização | локация | 位置 | 住所 | 위치
| Contact Person | Contact Person | Kontaktperson | Personne à contacter | Contatto | Persona de contacto | Pessoa de contato | Контактное лицо | 联系人 | 担当者 | 담당자
| Testing parameter | Testing parameter | Testparameter | L'analyse des paramètres | Parametri test | Parámetro de prueba | Parâmetros do teste | Тестируемый параметр | 测试参数 | 検査パラメーター | 시험 파라미터
| Switch-off criterion | Switch-off criterion | Abschaltkriterium | Critère d'arrêt | Criterio di disinserzione | Criterio de desconexión | Criterio de desconexão | Критерий остановки | 关机模式 | スイッチオフ基準 | 가열 중지 기준
| Time (10 min) | Time (10 min) | Zeit (10 min) | Temps (10 min) | Tempo (10 min) | Tiempo (10 min) | Tempo (10 min) | Время (10мин) | 定时 (10分钟) | 時間（10分） | 시간 (10 분)
| Drying program | Drying program | Trocknungsprogramm | Progr. de dessiccation | Progr. essiccamento | Programa de secado | Programa de secagem | Программа сушки | 升温程序 | 乾燥プログラム | 건조프로그램
| Standard | Standard | Standard | Standard | Standard | Estándar | Padrão | Стандартная | 标准 | 標準 | 표준
| Display mode | Display mode | Anzeige | Affichage | Tipo di indicazione | Modo pantalla | Exibiçao display | Режим отображения | 结果显示模式 | 表示モード | 디스플레이모드
| Perform test with cold instrument. | Perform test with cold instrument. | Test mit abgekühltem Gerät durchführen. | Faire un test avec l'instrument à froid. | Eseguire il test a freddo con lo strumento. | Test de rendimiento con instrumento frío. | Realização de ensaio com instrumento frio. | Выполнение проверки с холодным прибором. | 冷机下的性能测试. | 冷却された機器で検査を行う. | 냉각된 기기에서 시험을 하십시오.
| MT Control Limits | MT Control Limits | MT Kontrollgrenzen | MT limites de contrôle | MT limiti di controllo | Límites de control MT | Limites de controle MT | Пределы регулирования MT | MT 控制极限值 | MT 管理限界値 | MT 제어한계값
| MT Control Limits [%MC] | MT Control Limits [%MC] | MT Kontrollgrenzen [%MC] | MT limites de contrôle [%MC] | MT limiti di controllo [%MC] | Límites de control MT [%MC] | Limites de controle MT [%MC] | Пределы регулирования MT [%MC] | MT 控制极限值 [%MC] | MT 管理限界値 [%MC] | MT 제어한계값 [%MC]
| Lower Limit | Lower Limit | Unteres Limit | Limites inférieures | Limite inferiore | Límite inferior | Limite inferior | Нижний предел | 下限 | 低許容値 | 하한값
| Upper Limit | Upper Limit | Oberes Limit | Limites supérieures | Limite superiore | Límite superior | Limite superior | Верхний предел | 上限 | 高許容値 | 상한값
| SmartCal Test at | SmartCal Test at | Funktionstest bei | Test de performance à | Verifica delle prestazioni a | Test de rendimiento a | #REF! | Выполнение теста при | 时的性能测试 | での性能検査 | 에서 성능시험
| Test Results | Test Results | Testergebnisse | Résultats des tests | Risultati del test | Test de resultado | Resultados do teste | Результаты испытания | 测试结果 | 検査結果 | 시험 결과
| Test Results %MCN | Test Results %MCN | Testergebnisse %MCN | Résultats des Tests, %MCN | Risultati del test, %MCN | Test de resultado, %MCN | Resultados do teste, %MCN | Результаты испытания, %MCN | 测试结果 %MCN | 検査結果, %MCN | 시험 결과 %MCN
| Measurement | Measurement | Messung | Mesure | Misura | Medición | Medição | Измерение | 测试 | 測定 | 측정
| Date | Date | Datum | Date | Data | Fecha | Data | Дата | 日期 | 日付 | 날짜
| Time | Time | Zeit | Temps | Ora | Hora | Hora | Время | 时间 | 時間 | 시간
| Environmental conditions | Environmental conditions | Umgebungsbedingungen | Conditions ambiantes | Condizioni ambientali | Condiciones ambientales | Condições ambientais | Условия окружающей среды | 环境条件 | 周辺環境 | 환경조건
| %RH | %RH | %RH | %RH | %RH | %RH | %RH | %RH | 相对湿度 (%RH) | %RH | %RH
| °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C
| %MC | %MC | %MC | %MC | %MC | %MC | %MC | %MC | %MC | %MC | %MC
| %MCN | %MCN | %MCN | %MCN | %MCN | %MCN | %MCN | %MCN | %MCN | %MCN | %MCN
| Within Limits | Within Limits | Innerhalb Limite | Dans les limites | Entro i limiti | Dentro de los límites | Dentro dos limites | В пределах | 合格 | 許容値内 | 허용범위 이내
| Yes | Yes | Ja | Oui | Si | Sí | Sim | Да | 是 | Yes | 예
| No | No | Nein | Non | No | No | Não | Нет | 否 | No | 아니오
| N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Remarks | Remarks | Bemerkungen | Remarques | Commenti | Comentarios | Observações | Примечания | 备注 | 備考 | 비고
| e.g. Package damaged, adjustment done etc. | e.g. Package damaged, adjustment done etc. | z.B. Verpackung beschädigt, Justierung durchgeführt usw. | p. ex.: colis endommagé, réglage effectué etc. | Es. Imballo danneggiato, regolazione eseguita ecc. | por ejemplo: Paquetes dañados, ajustes realizados etc. | Por exemplo: pacote danificado, ajuste feito, etc. | Например, повреждена упаковка, проведена настройка и т.д. | 例如：包装损坏、执行校正等 | 例）パッケージが破損している、調整済み、など | 예. 포장 파손, 조정 완료 등.
| Name | Name | Name | Nom | Nome | Nombre | Nome | Наименование | 姓名 | 名前 | 이름
| Instrument specific limits | Instrument specific limits | Instrumentspezifische Grenzen | Limites spécifiques de l'instrument | Limiti specifici per lo strumento | Límites específicos del instrumento | Limites específicos do instrumento | Индивидуальные пределы приборы | 仪器规格极限值 | 機器固有の限界値 | 기기의 특정 한계값
| Instrument specific limits [%MC] | Instrument specific limits [%MC] | Instrumentspezifische Grenzen [MC%] | Limites spécifiques de l'instrument [%MC] | Limiti specifici per lo strumento [%MC] | Límites específicos del instrumento [%MC] | Limites específicos do instrumento [%MC] | Индивидуальные пределы приборы [%MC] | 仪器规格极限值 [%MC] | 機器固有の限界値 [%MC] | 기기의 특정 한계값 [%MC]
| Mean [%MCN] | Mean [%MCN] | Mittelwert [%MCN] | Moyenne [%MCN] | Media [%MCN] | Media [%MCN] | Média [%MCN] | Среднее [%MCN] | 平均值 [%MCN] | 平均値 [%MCN] | 평균 [%MCN]
| SD | SD | SD (Standardabweichung) | SD (déviation standard) | SD (Deviazione standard) | SD (desviación estándar) | SD (desvio padrão) | SD (стандартное отклонение) | 标准偏差(SD) | SD（標準偏差） | 표준편차
| other | other | andere | autre | altri | otra | outra | другая | 其他 | 他の | 다른
| MT Control Limits (certified) | MT Control Limits (certified) | MT Kontrollgrenzen (certified) | MT limites de contrôle (certified) | MT limiti di controllo (certified) | Límites de control MT (certified) | Limites de controle MT (certified) | Пределы MT (certified) | MT 控制极限值 (certified) | MT 管理限界値 (certified) | MT 제어한계값 (certified)
| MT Control Limits (standard) | MT Control Limits (standard) | MT Kontrollgrenzen (standard) | MT limites de contrôle (standard) | MT limiti di controllo (standard) | Límites de control MT (standard) | Limites de controle MT (standard) | Пределы MT (standard) | MT 控制极限值 (standard) | MT 管理限界値 (standard) | MT 제어한계값 (standard)
| - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - -
| Manual input limits | Manual input limits | Manuelle Eingabe der Limits | Limites saisies manuellement | Limiti inseriti manualmente | Manual de entrada de límites | Limites de entrada manual | Ручной ввод пределов | 手動輸入限制 | 任意管理値入力 | 수동 입력 한계
| Set Date / Time | Set Date / Time | Datum / Zeit | Date / Temps | Data / Ora | Fecha / Ora | Data / Hora | Дата / Время | 日期 / 时间 | 日付 / 時間 | 날짜 / 시간
| = Mean - * SD | = Mean - * SD | = Mean - * SD | = Mean - * SD | = Mean - * SD | = Mean - * SD | = Mean - * SD | = Mean - * SD | = Mean - * SD | = Mean - * SD | = Mean - * SD
| = Mean + * SD | = Mean + * SD | = Mean + * SD | = Mean + * SD | = Mean + * SD | = Mean + * SD | = Mean + * SD | = Mean + * SD | = Mean + * SD | = Mean + * SD | = Mean + * SD
| Missing entry | Missing entry | Fehlender Eintrag | Entrée manquante | Dato mancante | Entrada Ausente | Entrada Ausente | Отсутствует запись | 未输入 | 間違った入力 | 누락 항목
| Certified | Certified | Certified | Certified | Certified | Certified | Certified | Certified | Certified | Certified | Certified
| Manual Input | Manual Input | Manuelle Eingabe | Saisie manuelle | Input manuale | Entrada Manual | Entrada Manual | Ввод пользователем | 手动输入 | 手入力 | 수동 입력
| - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - - | - - - - - -
| Data entered by: (signature and date) | Data entered by: (signature and date) | Daten eingetragen von: (Unterschrift und Datum) | Données entrées par: (date et signature) | Dati inseriti da: (data e firma) | Datos introducidos por: (firma y fecha) | Dados inseridos por: (assinatura e data) | Данные введены: (подпись и дата) | 数据记录者：(签名及日期) | 入力者： | 데이터 입력자: (서명 및 날짜)
| Data reviewed by (signature and date) | Data reviewed by (signature and date) | Daten geprüft von: (Unterschrift und Datum) | Données examinées par: (date et signature) | Dati revisionati da: (data e firma) | Datos revisados por: (firma y fecha) | Dados revistos por: (assinatura e data) | Данные проверены: (подпись и дата) | 数据检查者：(签名及日期) | 管理者: | 데이터 검토자: (서명 및 날짜)
| Version 2.10 2012-03 | Version 2.10 2012-03 | Version 2.10 2012-03 | Version 2.10 2012-03 | Version 2.10 2012-03 | Version 2.10 2012-03 | Version 2.10 2012-03 | Version 2.10 2012-03 | Version 2.10 2012-03 | Version 2.10 2012-03 | Version 2.10 2012-03
| Select | Select | Auswählen | Sélectionnez | Seleziona | Seleccionar | Selecionar | Выбрать | 选择 | 選択する | 선택
| SmartCal Lot No. | SmartCal Lot No. | SmartCal Lot No. | SmartCal Lot No. | SmartCal Lot No. | SmartCal Lot No. | SmartCal Lot No. | SmartCal Lot No. | SmartCal 标识号 | SmartCal Lot No. | SmartCal Lot No.
| Reviewer's Comments | Reviewer's Comments | Kommentare des Reviewers | Commentaires du contrôleur | Commenti del revisore | Comentarios del Revisor | Comentários do Revisor | Примечания к проверке | 检查者注释 | 管理者コメント | 검토자의 댓글
| Comments | Comments | Kommentare | Commentaires | Commenti | Comentarios | Comentários | Примечания | 注释 | コメント | 댓글
| Remove manual limits before changing selection. | Remove manual limits before changing selection. | Die manuellen Limite vor der Selektion entfernen. | Retirer les limites manuelles avant de changer de sélection | Rimuovere manualmente i limiti prima di modificare la selezione. | Eliminar los límites manuales antes de cambiar la selección. | Remova os limites manuais antes de alterar a seleção. | Удаление пользовательских значений перед изменением выбираемых пределов | 修改选项前请删除手动输入的极限值。 | マニュアル入力値を削除する | 선택을 변경하기 전에 수동 한계를 제거하시오
| Upper limit must be greater than lower limit! | Upper limit must be greater than lower limit! | Oberes Limit muss grösser sein als unteres Limit! | La limite supérieure doit être plus grande que la limite inférieure! | I limiti superiori devono essere maggiori dei limiti inferiori! | El límite superior debe ser mayor que el límite inferior | O limite máximo deve ser maior do que o limite inferior! | Верхний предел должен быть больше нижнего | 极限值上限必须大于极限值下限！ | 上限値の値は下限値よりも大きい必要があります | 상한은 반드시 하한보다 커야 합니다.
Process Definitions
| Temperature | Upper Calibration Limit |  | Oui Non: Lower Calibration Limit
|  | standard | certified | Oui Non: standard; Si No: certified
| 70°C | 4.4 | 4.3 | Oui Non: 3.2; Si No: 3.3
| 100°C | 6.4 | 6.3 | Oui Non: 5.2; Si No: 5.3
| 130°C | 8.8 | 8.7 | Oui Non: 7.4; Si No: 7.5
| 160°C | 11.7 | 11.6 | Oui Non: 9.9; Si No: 10
| other | ----- | ----- | Oui Non: -----; Si No: -----
Equation parameters
8.6204 | mass of water vapour at 20°C, 50%RH
611.2 | ) From Magnus formula for -45°C ≤ t ≤ 60°C ) to calculate saturation vapour pressure [Pa]
17.62
243.12
461.52 | J.kg-1°K-1 (individual gas constant of water)
273.15 | Conversion from °C to °K
-0.04619 | Gradient (α)