## AllUserC
| UserCom Articles Overview | [11 empty] | Effects and properties | [12 empty] | Techniques | [12 empty] | Materials | [10 empty] | Methods/procedures | [6 empty] | Industries
Number | Application - Title | TA Tip | UserCom / Page | Glass transition, softening, vitrification | Melting, crystallization, crystallinity | Heat capacity (Cp) | Expansion coefficient (CTE) | Modulus, elasticity | Reaction, safety, kinetics | Stability, oxidation (OIT), decomposition | Moisture, dehydration | Evaporation, volatiles, vaporization | Polymorphism, solid-solid transitions | Liquid crystals | Curing, vulcanization | Composition, content, purity | DSC | Flash DSC | TMDSC (IsoStep, ADSC, TOPEM) | TGA | TMA or DLTMA | DMA | Melting point, boiling point determination | Dropping point, softening point determination | Thermo optical analysis | Evolved gas analysis (FTIR, MS, GC/MS, micro GC/MS) | Microscopy, chemiluminescence | Photocalorimetry | Sorption | Thermoplastics | Thermosets | Elastomers | Metals | Organic substances | Inorganic substances | Pharmaceuticals | Composites | Food | Biological substances | Energetics | Sample preparation | Methods, experimental conditions | Instruments characteristics | Evaluation procedures | Regulations, validations | Standards (ISO, ASTM, EN) | Calibration, adjustment, reference materials | Plastics, rubbers, composites | Electronics, automation | Pharmaceutical | Petrochemistry, fine chemicals | Food, beverage | Automotive (cars, aerospace, trains, ships) | Cosmetics | Coatings, paints, lacquers, adhesives | Inorganics, Metals, ceramics, alloys | Explosives, propellants, energetic materials | Academia, research | Building, construction | Power, energy production | Others | Keywords
11 | Different temperatures | x | 1/1 |  | x | [11 empty] | x | [15 empty] | x | [10 empty] | x | [11 empty] | x | [5 empty] | reference temperature, sample temperature
21 | Selection of the heating rate | x | 2/1 | x | x | [8 empty] | x |  |  | x | [12 empty] | x |  |  | x | x | [7 empty] | x | [18 empty] | x | Indium, polycarbonate (PC), liquid crystal, sensitivity, resolution
22 | New possibilities with ADSC cp |  | 2/5 | x | x | x | [10 empty] | x |  | x | [10 empty] | x | [11 empty] | x | x | [17 empty] | x | high resolution, high sensitivity
23 | Measurement with TGA/SDTA |  | 2/4 |  |  | x | [6 empty] | x | [6 empty] | x | [14 empty] | x | [6 empty] | x | [13 empty] | x | [5 empty] | sapphire method
24 | Model-free kinetics |  | 2/7 | [5 empty] | x | [5 empty] | x |  | x | [13 empty] | x | [11 empty] | x | [9 empty] | x |  | x | [6 empty] | MFK, adhesives, thermoset resin, curing behavior
31 | Investigation of unknown samples | x | 3/1 | [13 empty] | x |  |  | x | [20 empty] | x | x | [19 empty] | sample preparation
32 | Elastomer analysis in the TGA850 |  | 3/7 | [6 empty] | x |  | x |  |  |  | x |  |  |  | x | [11 empty] | x | [15 empty] | x | [13 empty] | NR, EPDM, SBR, DTG
33 | Selection of experimental parameters for cp determination with ADSC |  | 3/9 |  |  | x | [10 empty] | x |  | x | [10 empty] | x |  |  |  |  | x | [6 empty] | x | x | [14 empty] | x |  |  |  | PS, sapphire, heating rate, period
41 | Optimum utilization of the internal database of the STARe SW | x | 4/1 | [39 empty] | x | [18 empty] | data management, data backup, data deletion
42 | Determination of the eutectic composition |  | 4/7 |  | x | [10 empty] | x | x | [16 empty] | x | [7 empty] | x |  | x | [13 empty] | x |  |  |  | methyl-4-hydroxybenzoate (MpHB), p-hydroxybenzoic acid (pHB), eutectic heat of fusion
43 | Glass transition temperature of elastomers |  | 4/8 | x | [12 empty] | x | [14 empty] | x | [15 empty] | x | [13 empty] | ABS, BR, EPDM, NR, IR, NBR, SBR, Dcp
44 | PEI, glass transition by ADSC |  | 4/11 | x | [12 empty] | x |  | x | [10 empty] | x | [12 empty] | x |  |  |  |  | x | [13 empty] | enthalpy relaxation
51 | Crucibles in thermal analysis | x | 5/1 |  | x | [7 empty] | x | x |  |  | x |  |  | x | [13 empty] | x | x | [5 empty] | x | [20 empty] | sulfur, liquid crystal, crucible choice, crucible comparison
52 | Shelf-life of drugs |  | 5/9 | [5 empty] | x | x | [9 empty] | x | [13 empty] | x | [7 empty] | x | [7 empty] | x | [11 empty] | MFK, acetylsalicylic acid, aspirin, DTG
53 | TGA-MS coupling |  | 5/11 | [6 empty] | x |  | x | [7 empty] | x | [5 empty] | x | [7 empty] | x | [15 empty] | x | [11 empty] | evaporation of bound solvent
54 | Calcium sulfate measurement |  | 5/12 | [6 empty] | x |  |  | x | [6 empty] | x | [35 empty] | x | [5 empty] | CaSO4, gypsum, DTG
55 | Determination of the vinyl acetate content using thermogravimetry |  | 5/13 | [6 empty] | x | [5 empty] | x |  |  |  | x | [11 empty] | x | [27 empty] | x |  | VAc, EVA copolymer
56 | PET, physical curing in TMA |  | 5/15 | x | x | [15 empty] | x | [8 empty] | x | [12 empty] | x |  |  |  |  | x | [13 empty] | DLTMA
61 | Calibration | x | 6/1 |  | x | [11 empty] | x | [15 empty] | x | [13 empty] | x | [14 empty] | adjustment, reference substances
62 | Modern building materials (FTIR) |  | 6/8 | [6 empty] | x | x | [8 empty] | x | [5 empty] | x | [10 empty] | x | [21 empty] | x |  |  | tile adhesive, CaCO3, TGA-FTIR, DTG
63 | MaxRes: Event-controlled adaption of the heating rate |  | 6/10 | [6 empty] | x | x | [8 empty] | x | [14 empty] | x | [7 empty] | x | [18 empty] | CaC2O4.H2O, BaCO3, SrCO3
64 | Investigation of copolymers with DSC30 |  | 6/15 |  | x | [11 empty] | x | [12 empty] | x | [17 empty] | x | [13 empty] | PP-PE copolymer, influence of nucleating agent, oxidative decomposition
65 | Denaturation of proteins |  | 6/17 | [5 empty] | x | [7 empty] | x | [21 empty] | x | [12 empty] | x | [9 empty] | fingerprint, lupin, wheat, vegetable protein, soya, spelt
66 | Thermoanalytical investigations of hydrate |  | 6/18 |  | x | [5 empty] | x |  | x |  |  |  | x |  |  | x | [18 empty] | x | [10 empty] | x | [11 empty] | glucose
67 | Investigation of the memory effect of polyethylenes |  | 6/13 |  | x | [11 empty] | x | [12 empty] | x | [27 empty] | x |  |  |  | crosslinked PE, uncrosslinked PE, insulating material
68 | Phase correction in ADSC |  | 6/20 | x |  | x | [10 empty] | x |  | x | [10 empty] | x | [12 empty] | x | [14 empty] | x |  |  |  | polycarbonate (PC), phase angle
69 | ADSC during glass transition |  | 6/22 | x | [12 empty] | x |  | x | [10 empty] | x | [12 empty] | x | [14 empty] | x |  |  |  | PVAc, phase angle
71 | Measuring specific heat capacity | x | 7/1 |  |  | x | [10 empty] | x |  | x | [22 empty] | x | x | [18 empty] | cp, direct method, steady state, ADSC, sapphire method
72 | Decomposition of ammonium perchlorate |  | 7/7 | [5 empty] | x | [10 empty] | x | [14 empty] | x | [7 empty] | x | [13 empty] | x | x |  |  |  | NH4ClO4, MFK, reaction mechanism
73 | Characterization of soil samples |  | 7/10 | [6 empty] | x | x | [8 empty] | x | [18 empty] | x |  |  | x | [15 empty] | x |  |  |  | OBS index, agriculture and forestry
74 | Precise measurements of the specific heat capacity |  | 7/12 |  |  | x | [10 empty] | x |  | x | [15 empty] | x | [22 empty] | x |  |  |  | TMDSC, potassium dihydrogen phosphate (PDP), strontium titanate (SrTiO3), ferroelectric phase transition
75 | Safety investigations in glass crucibles |  | 7/15 |  | x |  |  |  | x | x | [6 empty] | x | [16 empty] | x | [22 empty] | x |  |  |  |  | 4-nitrotoluene
76 | Determination of curing behavior |  | 7/16 | x |  |  |  | x | [6 empty] | x | [5 empty] | x | [9 empty] | x | [11 empty] | x | [11 empty] | x | [6 empty] | epoxy adhesive, gelation, DLTMA, bending
77 | Platinum crucibles in thermogravimetry |  | 7/18 | [6 empty] | x | [9 empty] | x | [13 empty] | x | [16 empty] | x | [10 empty] | platinum poison, dishwashing powder
81 | Tips on Model Free kinetics | x | 8/1 | [5 empty] | x |  | x | [5 empty] | x | [17 empty] | x | [7 empty] | x | x | [17 empty] | CaSO4.1/2H2O, dehydration
82 | Polymorphism using DSC |  | 8/8 | [9 empty] | x | x |  |  | x | [16 empty] | x | x | [26 empty] | sulfapyridine, KClO4, sulfur, phenylbutazone, glucose monohydrate, cholesteryl myristate, enantiotropic, monotropic, solid-solid transition
83 | Swelling measurements of thin polymer films with TMA |  | 8/9 | [17 empty] | x | [8 empty] | x | [19 empty] | x | [7 empty] | x |  |  |  | polyacrylate, insoluble polymer, swelling behavior, drug release
84 | Vitrification in the isothermal curing of Epoxy resins by ADSC |  | 8/11 | [11 empty] | x |  | x |  | x | [11 empty] | x | [23 empty] | x |  |  | x |  |  |  | DGEBA, triamine, vitrification time, phase angle
85 | Application of DSC to the investigation of damaged polymeric material |  | 8/14 |  | x | [11 empty] | x | [12 empty] | x | [17 empty] | x | [13 empty] | high-impact PP, PE, POM, damage analysis
91 | Low temperature calibration | x | 9/1 |  | x | [11 empty] | x | [15 empty] | x | x | [12 empty] | x | [14 empty] | adjustment, reference substances
92 | Thermal analysis of polyvinylchloride (PVC) |  | 9/6 | x | x |  |  |  |  | x | [6 empty] | x |  |  | x | [9 empty] | x | [17 empty] | x | [13 empty] | thermal stability, degree of gelation, PVC window frame
93 | Total analysis with DSC, TGA, TMA and TGA-EGA |  | 9/8 | x |  |  | x |  | x | x | x |  |  |  |  | x | x |  |  | x | x |  |  |  |  | x | [10 empty] | x | [11 empty] | x | [12 empty] | PCB, FR4, delamination, CTE, TGA-MS, kinetics, MFK
94 | DSC of butterfats and margarine |  | 9/13 |  | x | [7 empty] | x |  |  |  | x | [20 empty] | x | [13 empty] | x | [9 empty] | palm oil, edible fats, liquid/solid fraction
95 | DSC with the TGA/SDTA851e taking weight loss into account |  | 9/16 |  | x | [6 empty] | x | [7 empty] | x | [13 empty] | x | [7 empty] | x |  | x | [7 empty] | x | [9 empty] | aspartame, sweetening agent, SDTA-DSC conversion, mass-independent DSC
96 | DSC of human stratum corneum |  | 9/19 |  | x | [11 empty] | x | [21 empty] | x | [10 empty] | x | [7 empty] | x |  |  |  | HSC, drug penetration, ointment excipients
97 | Influence of the crucible on the results of thermogravimetric analysis |  | 9/22 | [6 empty] | x | [9 empty] | x | [11 empty] | x | [8 empty] | x | [20 empty] | elastomer
101 | DSC purity determination | x | 10/1 |  | x | [6 empty] | x | x |  |  | x | x | [16 empty] | x | [6 empty] | x | x | x | x | [5 empty] | x | [11 empty] | DMT, BHA, polymorphism, eutectic system, choice of baseline
102 | TGA-FTIR combination for the investigation of sealing rings |  | 10/6 | [6 empty] | x | [9 empty] | x | [5 empty] | x | [5 empty] | x | [15 empty] | x | [13 empty] | thermal stability
103 | Oxidative stability of petroleum oil fractions |  | 10/7 | [6 empty] | x | [6 empty] | x | [16 empty] | x | [16 empty] | x | [10 empty] | diesel oils, OIT, HPDSC
104 | What can model free kinetics tell us about reaction mechanisms? |  | 10/9 | [5 empty] | x | x | x |  |  |  | x |  | x |  |  | x | [9 empty] | x | x |  |  |  | x |  |  |  | x | [18 empty] | x |  |  |  | CaC2O4.H2O, PP, DGEBA, pyrolysis of wood, MFK, reaction mechanism
105 | Safety investigations with model free kinetics |  | 10/11 | [5 empty] | x | [5 empty] | x |  | x | [13 empty] | x | [16 empty] | x | [9 empty] | x |  |  |  | epoxy resin, nth-order, MFK, time to maximum reaction rate (TMR)
106 | The glass transition from the point of view of DSC measurements: basic principles |  | 10/13 | x | [12 empty] | x | [12 empty] | x | [13 empty] | x |  |  |  | x | [6 empty] | x | [6 empty] | PET, cooperative rearrangement, enthalpy relaxation
107 | Determination of the expansion coefficients of an injection molded machine part |  | 10/17 | x |  |  | x | [13 empty] | x | [15 empty] | x | [23 empty] | x | PPS, fiber-reinforced polymer, composites, CTE
108 | Two-component phase diagram |  | 10/18 |  | x | [11 empty] | x | [16 empty] | x | [7 empty] | x | [19 empty] | dimethyl terephthalate (DMT), benzoic acid, eutectic composition
109 | Crosslinking and degree of cure of thermosetting materials |  | 10/20 | x | [10 empty] | x |  | x | [13 empty] | x | [16 empty] | x | [13 empty] | epoxy resin, post curing
110 | Tips for databases |  | 10/22 | [39 empty] | x | [18 empty] | data management
111 | Interpreting DSC curves; Part 1: Dynamic measurements | x | 11/1 | x | x |  |  |  | x |  | x | x | x | x | x |  | x | [12 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | [17 empty] | artifacts, curve interpretation
112 | The glass transition from the point of view of DSC measurements; Part 2: Information for the characterization of materials |  | 11/8 | x | [12 empty] | x | [12 empty] | x | x | x |  |  |  |  | x | [6 empty] | x |  |  |  | x | [6 empty] | x | [6 empty] | influencing factors (crystallinity, orientation, physical aging etc.)
113 | Thermal values for fats: DSC analysis or dropping point determination |  | 11/14 |  | x | [11 empty] | x | [7 empty] | x | [12 empty] | x | [13 empty] | x | [9 empty] | edible fats and oils, dropping point, FP83HT
114 | The use of MaxRes for the investigation of partially hydrated Portland cement systems |  | 11/15 | [7 empty] | x | [8 empty] | x | [14 empty] | x | [23 empty] | x |  |  | C3A, hydration
115 | Vitrification and devitrification phenomena in the dynamic curing of an epoxy resin with ADSC |  | 11/17 | x | [10 empty] | x |  | x |  | x | [11 empty] | x | [11 empty] | x | [11 empty] | x |  |  | x |  |  |  | DGEBA, continuous heating transformation cure diagram (CHT diagram)
116 | Expansion and shrinkage of fibers |  | 11/20 |  |  |  | x | [13 empty] | x | [8 empty] | x | [31 empty] | fibers and wires, shrinking, DLTMA
117 | The cooling performance of the DSC821e |  | 11/25 | [13 empty] | x | [25 empty] | x
121 | Interpreting DSC curves; Part 2: Isothermal measurements | x | 12/1 |  | x |  |  |  | x | x |  | x | x |  | x |  | x | [12 empty] | x | x |  | x | x | x | [8 empty] | x |  |  |  | x |  | x |  |  |  |  | x | x | [5 empty] | curve interpretation
122 | Characterization of petroleum products with DSC |  | 12/6 | x | x | [11 empty] | x | [16 empty] | x | [16 empty] | x | [10 empty] | crude oil, fuel, diesel
123 | Applications of DSC to thermosetting materials |  | 12/9 | [11 empty] | x |  | x | [13 empty] | x | [11 empty] | x | [10 empty] | x | x | [6 empty] | sheet molding compounds (SMC), prepreg, postcuring, storage stability
124 | Force and temperature modulated TMA measurements of fibers |  | 12/11 |  | x |  | x | x | [12 empty] | x | [8 empty] | x | [11 empty] | x | [5 empty] | x | [13 empty] | PET fibers, DLTMA, temperature-modulated TMA, CTE, coefficient of shrinkage
125 | Measurements of pore size distribution with DSC |  | 12/15 |  | x | [11 empty] | x | [17 empty] | x | [22 empty] | x |  |  |  | PSD, porous materials, thermoporosimetry
126 | Measurements of low concentrations of PE-LD in PE-HD |  | 12/18 |  | x | [11 empty] | x | [12 empty] | x | [17 empty] | x | [13 empty] | PE-LD/PE-HD blend
127 | OIT of polyethylene with the TMA/SDTA840 |  | 12/20 | [6 empty] | x | [10 empty] | x | [8 empty] | x | [17 empty] | x | [13 empty] | PET, OIT
128 | Effect of sample mass on TG results |  | 12/21 | [6 empty] | x |  | x | [7 empty] | x | [13 empty] | x | [27 empty] | DECA, effect of crucible lid
131 | Interpreting TGA curves | x | 13/1 |  | x |  |  |  | x | x |  | x | [7 empty] | x | [12 empty] | x | x | x | [8 empty] | x | [17 empty] | curie transition
132 | Determination of the fiber content of composite materials by thermogravimetry |  | 13/7 | [6 empty] | x | x |  |  |  |  | x |  |  |  | x | [9 empty] | x | [6 empty] | x | [10 empty] | x | [13 empty] | PA6, fiber-reinforced material, composite, aramid fiber
133 | Investigation of the segregation behavior of different mortar constituents with TGA/SDTA |  | 13/9 | [6 empty] | x | x |  | x |  |  | x |  |  |  | x | [13 empty] | x | x | [23 empty] | x |  |  | Portland cement, tile adhesive, methylhydroxylethyl cellulose (MHEC)
134 | Determination of polymer crystallinity with DSC measurements |  | 13/12 |  | x | [11 empty] | x | [12 empty] | x | [17 empty] | x | [13 empty] | PA6, PET, PE-HD, initial crystallinity
135 | DSC characterization of short chain branching distribution in polyethylene |  | 13/14 |  | x | [11 empty] | x | [12 empty] | x | [17 empty] | x | [9 empty] | x |  |  |  | PE, SCB, stepwise isothermal segregation technique (SIST), successive self-nucleation/annealing (SSA)
136 | TMA/SDTA840: rapid cooling between measurements |  | 13/18 | [17 empty] | x | [21 empty] | x | [18 empty] | cooling time constant
141 | Interpreting TMA curves | x | 14/1 | x | x |  | x |  | x |  |  |  | x | [7 empty] | x | [8 empty] | x | x | x | x | x | x | [8 empty] | x | [17 empty] | PTFE, PVC, PET, artifacts, DLTMA
142 | Determination of the specific heat of dry substances of moist samples using ADSC |  | 14/5 | x |  | x |  |  |  |  | x | [5 empty] | x |  | x | x | [15 empty] | x | [13 empty] | x | [11 empty] | spray-dried drug, correction of heat capacity
143 | Investigation of the thermal stability of CNx with TGA-MS |  | 14/9 | [6 empty] | x | [9 empty] | x | [5 empty] | x | [8 empty] | x | [20 empty] | x |  | x |  |  |  | carbon nitride
144 | Optimization of DSC measurement conditions |  | 14/11 |  |  |  |  | x | [8 empty] | x | [12 empty] | x | [10 empty] | x | x | [19 empty] | PE-LD, Taguchi procedure
145 | Investigating the curing of amino resins with TGA-MS and TGA-FTIR |  | 14/13 | [5 empty] | x | [10 empty] | x | [5 empty] | x |  |  |  |  | x | [16 empty] | x | [9 empty] | x |  |  |  | polycondensation, urea, melamine, formaldehyde
146 | Reproducible evaluation of DSC measurements: glass transition followed by chemical reaction |  | 14/16 | x | [10 empty] | x |  | x | [13 empty] | x | [12 empty] | x |  |  |  | x | [6 empty] | x | [6 empty] | epoxy resin, DGEBA-DDM, post curing, baseline construction
147 | Rapid thermogravimetric analysis of coal |  | 14/18 | [6 empty] | x | x | [8 empty] | x | [14 empty] | x | [10 empty] | x |  |  |  |  | x | [8 empty] | x |  | coal, coke, reproducibility test
148 | TGA-FTIR and TGA-MS measurements |  | 14/21 | [6 empty] | x | [9 empty] | x | [5 empty] | x | [15 empty] | x | [19 empty] | carrier gas, FTIR sensitivity, leak-tightness of FTIR
151 | Interpreting DMA curves, Part 1 | x | 15/1 | x | x | x |  | x | [6 empty] | x | [6 empty] | x | [7 empty] | x | x | x | x | x |  |  | x |  |  |  |  | x |  | x | [17 empty] | compatibility, gelation, non-isothermal measurements
152 | Thermal analysis of toners |  | 15/10 | x | x | [11 empty] | x |  |  |  |  | x | [7 empty] | x | [18 empty] | x | [12 empty] | overlapping melting and glass transition, frequency dependence
153 | The characterization of resins in lithographic processes |  | 15/12 | x | [7 empty] | x |  |  | x |  | x |  | x | [11 empty] | x | [17 empty] | x | [5 empty] | x | [6 empty] | chemically amplified resists (CARs), ADSC, photo acid generator (PAG)
154 | Quantitative analysis of polyolefine blends |  | 15/15 |  | x | [10 empty] | x | x | [12 empty] | x | [17 empty] | x | [13 empty] | recycled polymeric, LDPE, HDPE, PP, polymeric blends
155 | The investigation of curing reactions with IsoStepÔ |  | 15/18 | x | [10 empty] | x |  | x |  | x | [11 empty] | x | [11 empty] | x |  |  |  |  | x | [6 empty] | x | [6 empty] | DGEBA, DDM, vitrification, devitrification, polymer resin
156 | Thermal decomposition of copper sulfate pentahydrate |  | 15/20 | [7 empty] | x | [8 empty] | x | [5 empty] | x | [8 empty] | x | [22 empty] | x |  |  |  | TGA-MS, reaction mechanism
157 | Investigation of delamination and foaming by TMA-MS |  | 15/21 | x |  |  | x |  |  | x | [10 empty] | x | [9 empty] | x | [5 empty] | x | [11 empty] | x | [12 empty] | PCB, blowing agent, expandable polymer
161 | Interpreting DMA curves, Part 2 | x | 16/1 | x |  |  |  | x | [13 empty] | x | [7 empty] | x | x | x | [11 empty] | x |  |  |  | x | [13 empty] | frequency dependence, master curve, isothermal measurements
162 | Characterization of drugs by DSC |  | 16/8 |  | x |  |  |  |  | x | [6 empty] | x | [18 empty] | x | [13 empty] | x | [7 empty] | x |  |  |  | piroxicam, excipient, active substances
163 | Determination of the glass temperature by DMA |  | 16/10 | x | [17 empty] | x | [9 empty] | x | [15 empty] | x | [13 empty] | NR, BR, SBR, NBR, IIR, elastomer, master curve, WLF equation, Vogel-Fulcher equation, frequency dependence
164 | Investigation of the cold crystallization and melting of amorphous linear polyesters by ADSC |  | 16/13 | x | x | [11 empty] | x |  | x | [10 empty] | x | [17 empty] | x | [13 empty] | polyester, PET, PEN
165 | Drying of the glass transition using IsoStepÔ |  | 16/16 | x | [6 empty] | x | [5 empty] | x |  | x | [16 empty] | x | [13 empty] | x | [11 empty] | spray-dried drug, moisture effect on glass transition
171 | The glass transition temperature measured by different TA techniques. Part 1: Overview | x | 17/1 | x | [12 empty] | x |  | x | x | x | x | [7 empty] | x | x | x | [9 empty] | x |  | x | [17 empty] | PS, cooperative rearrangement, vitrification, sensitivity
172 | Measurement of dynamic water sorption processes by modified TGA |  | 17/7 | [7 empty] | x | [8 empty] | x | [8 empty] | x | [8 empty] | x | x | [12 empty] | x | [9 empty] | dynamic water vapor sorption processes (DVS), water-soluble foodstuff, sorption
173 | Determination of the out-life of prepregs using Advanced Model Free Kinetics |  | 17/10 | x |  |  |  |  | x | [5 empty] | x |  | x | [13 empty] | x | [5 empty] | x | [10 empty] | x | [13 empty] | AMFK, kinetics
174 | Poly-e-caprolactone-polytetrahydrofurane copolymers as alternative for the treatment of bone fractures |  | 17/13 | x | x | [11 empty] | x |  |  |  |  | x | [7 empty] | x | [17 empty] | x | [13 empty] | PCL homopolymer, PCL-PTHF copolymer, medical applications
175 | Analysis of complex decomposition reactions by TGA-GC-MS |  | 17/15 | [6 empty] | x | [9 empty] | x | [5 empty] | x |  |  |  |  | x | [16 empty] | x | [9 empty] | x |  |  |  | silicone resin, phenolic resin, expanded foam
176 | Thermogravimetric investigation of the formation electrochromic layers of nickel oxide |  | 17/17 | [6 empty] | x |  | x | [7 empty] | x | [14 empty] | x | [22 empty] | x |  |  |  | nickel oxide, inorganic electrochromic materials, coating
181 | The glass transition temperature measured by different TA techniques. Part 2: Determination of glass transition temperatures | x | 18/1 | x |  |  |  | x | [8 empty] | x |  | x | x | x | x | [7 empty] | x | x | x | [9 empty] | x |  | x | [17 empty] | PS, heating rate, frequency
182 | Determination of binary phase diagrams of aqueous systems that are of importance for processes in the stratosphere |  | 18/9 |  | x | [11 empty] | x | [17 empty] | x | [22 empty] | x |  |  |  | eutectic, HNO3/H2O, 4HNO3.9H2O (TNAM)
183 | Kinetic studies of complex reactions. Part 1:model free kinetics |  | 18/13 | x |  |  |  |  | x | [5 empty] | x |  | x | [13 empty] | x | [16 empty] | x | [6 empty] | x |  |  | x |  |  |  | DGEBA, DDM, MFK, vitrification time, post curing
184 | Thermal analysis of high melting ceramics |  | 18/16 |  | x |  |  |  |  | x |  |  | x |  |  | x | x |  |  | x | [5 empty] | x | [6 empty] | x |  | x | [20 empty] | x | [5 empty] | MgO, TGA-MS, combustion, oxidation of aluminum, organically bound carbon, graphite
191 | DSC measurements at high heating rates - advantages and disadvantages | x | 19/1 |  | x | [7 empty] | x | x | x |  | x | [12 empty] | x | x |  | x | x | [6 empty] | x | x | [19 empty] | Indium, KU600, PET, azoxydianisole, phenylbutazone, original crystallinity, liquid crystal transition
192 | Kinetic studies of complex reactions. Part 2:description of diffusion control |  | 19/8 | [5 empty] | x | [5 empty] | x |  | x | [13 empty] | x | [16 empty] | x | [6 empty] | x |  |  | x |  |  |  | DGEBA, DDM, MFK, vitrification time, curing, maximum conversion, DiBenedetto equation
193 | Curing Kinetics of phenol-formaldehyde resins |  | 19/10 | [11 empty] | x |  | x | [13 empty] | x | [14 empty] | x |  | x | [6 empty] | x | [6 empty] | PF resol, nth order kinetics, MFK, simulation, ASTM E698
194 | Curing of powder coatings using UV light |  | 19/13 | [11 empty] | x |  | x | [10 empty] | x |  |  | x | [9 empty] | x | x |  | x | [10 empty] | x | [6 empty] | UV curing
195 | Quality assurance of polymeric molded parts by DSC. Part 1: Incoming materials |  | 19/16 | x | x | [11 empty] | x | [12 empty] | x | [17 empty] | x | [13 empty] | PVC, PA66, PBT, PP, POM, Oxidation Onset Temperature (OOT), colored molded part
201 | The advantages of DSC cooling measurements for characterizing materials | x | 20/1 | x | x | [8 empty] | x |  |  | x | [12 empty] | x |  |  |  | x | [7 empty] | x | [19 empty] | new and recycled PP, modified PP, liquid crystal, cholesteryl myristate, PET/wax blend
202 | From liquid to solid-measurement of mechanical quantities over more than 10 decades |  | 20/6 | x |  |  |  | x | [6 empty] | x | [6 empty] | x | [8 empty] | x | [11 empty] | x | [11 empty] | x | [6 empty] | DMA, epoxy resin, DGEBA-DDM, isothermal curing, gel point, vitrification,
203 | Quality assurance of polymeric molded parts by DSC. Part 2: Process control |  | 20/9 |  | x | [11 empty] | x | [12 empty] | x | [17 empty] | x | [13 empty] | polybutyleneterephthalate (PBT), melt temperature, dwell time, mold temperature, molded part, annealing, polyamide (PA)
204 | Chemiluminescence of polypropylene |  | 20/12 | [6 empty] | x | [6 empty] | x | [9 empty] | x |  |  | x | [11 empty] | x | x |  |  |  |  | x | [13 empty] | OIT, polyolefine, copper, catalyst
205 | Elucidation of thermal transitions by hot-stage microscopy |  | 20/15 |  | x | [7 empty] | x | [11 empty] | x |  | x | [6 empty] | x |  | x | [5 empty] | x | x |  |  |  |  | x |  | x | [11 empty] | Sulfapyridine, chlorpropamide, modifications, polymorphism
206 | TA tip on the sample robot: change in moisture content before analysis |  | 20/17 | [8 empty] | x | [7 empty] | x | [9 empty] | x | [12 empty] | x | [18 empty] | vaporization of volatiles, lid piercing kit
211 | Method development in thermal analysis: Part 1 | x | 21/1 | [6 empty] | x | [5 empty] | x | x |  | x | x | x | x | [12 empty] | x | [5 empty] | x | x |  | x | [17 empty] | method validation, sensitivity, minimum sample size, sample preparation, crucible choices, measurement accuracy
212 | Model free kinetics |  | 21/6 | [5 empty] | x | [5 empty] | x |  | x | [13 empty] | x | [10 empty] | x |  | x |  |  |  | x | [6 empty] | x | [6 empty] | reaction kinetics, MFK, AMFK, nth-order kinetics, kinetics evaluations
213 | Determination of the adsorption and desorption of moisture in pharmaceutical substances |  | 21/9 | [7 empty] | x | [8 empty] | x | [8 empty] | x | [6 empty] | x | [5 empty] | x |  | x | [5 empty] | x | [11 empty] | amiloride hydrochloride dihydrate, dehydration, rehydration, USP 26, free water, bound water
214 | Investigation of the temperature stability of polymer additives and their decomposition products by TGA-MS and TGA-FTIR |  | 21/11 | [6 empty] | x | [9 empty] | x | [5 empty] | x |  |  |  | x | [17 empty] | x | [13 empty] | polymerics, ammonia
215 | Determination of glass transition temperatures of powder disks by TMA |  | 21/13 | x |  |  |  | x | [12 empty] | x | [8 empty] | x | [17 empty] | x | [13 empty] | polymer film, cellulose ethers, hydroxypropyl methyl cellulose (HMPC), softening
216 | Phase transitions of lipids and liposomes |  | 21/16 | [9 empty] | x |  |  |  | x | [21 empty] | x | [18 empty] | x |  |  |  | membrane, dipalmitoylphosphatidylcholine (DPPC), phospholipid, small unilamellar vesicles (SUVs), multilamellar vesicles(MLVs), rippled phase, liquid crystalline, gel, flavonoid
221 | Method development in thermal analysis: Part 2 | x | 22/1 | [6 empty] | x | x | x |  |  |  |  | x |  | x | x | x | x | [12 empty] | x | [5 empty] | x | x |  | x | [17 empty] | temperature program, choosing the atmosphere, evaluation, validation
222 | TOPEMâ- The new multi-frequency temperature-modulated technique |  | 22/6 | x | x | x | [10 empty] | x |  | x | [10 empty] | x | [11 empty] | x |  | x | [17 empty] | temperature-modulated DSC (TMDSC), sensible heat flow, latent heat flow, quasi-static specific heat capacity(Cp0), PET, IsoStepâ, ADSC
223 | Estimation of the long-term stability of materials using advanced model free kinetics |  | 22/8 | [5 empty] | x | x | [9 empty] | x | [9 empty] | x | [11 empty] | x | [5 empty] | x | [13 empty] | AMFK, decomposition of polystyrene (PS), prediction, activation energy and iso- conversion
224 | Thermal analysis experiments with fire-retarded polymers |  | 22/12 | [6 empty] | x | x |  |  |  |  | x | x |  |  | x | [9 empty] | x |  |  |  |  | x | [12 empty] | x | [13 empty] | aluminum hydroxide, aluminum trihydrate (ATH), magnesium hydroxide, magnesium dihydrate (MDH), polyolefines, polyamide, brominated fire retardants, phosphorus, PE, PA6, PA66
225 | The seperation of sensible and latent heat flow using TOPEMÒ |  | 22/16 | x | x | x | [6 empty] | x |  | x |  | x |  | x | [11 empty] | x |  |  |  | x |  |  |  | x |  |  | x | [19 empty] | frequency dependence, second-order transitions, solid-solid transition, sodium nitrate, isothermal chemical reaction, isothermal curing, DGEBA-DDM, lactose,
226 | Simple determination of the thermal conductivity of polymers by DSC |  | 22/19 |  | x | [11 empty] | x | [12 empty] | x |  |  | x | [8 empty] | x |  | x | [17 empty] | PS, PVC, ABS, PP, PMMA, PA66, PTFE, PET, PE, PF, thermal diffusivity, indium, gallium
231 | How to determine the optimum experimental parameters for DMA measurements | x | 23/1 | [18 empty] | x | [19 empty] | x | [19 empty] | deformation mode, heating rate, sample geometry, force and displacement amplitude, offset, frequency
232 | Evaluation and interpretation of peak temperatures of DSC curves. Part 1: Basic principles |  | 23/6 |  | x | [11 empty] | x | [12 empty] | x |  |  | x | [10 empty] | x | [17 empty] | melting peak, sample temperature, reference temperature,
233 | Photocalorimetric simulation of the light curing of adhesives |  | 23/10 | x |  |  |  |  | x |  |  | x |  |  | x |  | x | [10 empty] | x |  |  | x | [17 empty] | x | [12 empty] | postcuring, outgassing, curing kinetics
234 | Characterization of vegetable oils by DSC |  | 23/13 |  | x | [11 empty] | x | [20 empty] | x | [13 empty] | x | [9 empty] | triglycerides, cold-pressed oil, refined oil, soya oil, almond oil, jojoba oil, maize germ oil, macadamia nut oil, coconut oil, walnut oil, olive oil.
235 | Influence of the chain structure of polymers on their flow behavior |  | 23/15 | x | [17 empty] | x | [7 empty] | x |  | x | [15 empty] | x | [13 empty] | Poly(ethylene-co-propylene) polymers (EPM), vinyl norbornene (VNB), EPDM, molecular weight distribution (MWD), Mooney viscosity, long chain branching, van Gurp-Palmen plot,
236 | Unusual sample properties as an origin of artifacts |  | 23/18 | [13 empty] | x | [13 empty] | x | [9 empty] | x | [6 empty] | x | [13 empty] | stress relaxation, jumping crucible, sample mass, sample preparation
237 | Influence of the heating rate: Melting and chemical reactions |  | 23/20 |  | x |  |  |  |  | x | [9 empty] | x | [13 empty] | x | [7 empty] | x | [19 empty] | ethyl-4-hydroxybenzoate, benzoic acid, malonic acid, enalapril maleate
241 | Influence of absorbed moisture on the mechanical properties of Polyamide 6 | x | 24/1 | x |  |  |  | x |  |  | x | [8 empty] | x |  | x | [7 empty] | x | [10 empty] | x | x | [5 empty] | x | [13 empty] | maximum moisture content, sorption, absorption, desorption, relative humidity
242 | Evaluation and interpretation of peak temperatures of DSC curves. Part 2: Examples |  | 24/11 | x | x | [6 empty] | x |  | x | x |  | x | [12 empty] | x | x |  | x | x | x | [8 empty] | x | [17 empty] | melting, indium, stable and metastable crystallites, Illers diagram, PET, multiphase system, phase diagram, sucrose/water, tin (Sn), NH4NO3,epoxy resin, second order phase transitions
243 | Curie temperature measurements on nanocrystalline iron-based mechanically alloyed materials |  | 24/16 | [16 empty] | x | [12 empty] | x | [24 empty] | x |  |  |  | curie transition, thermomagnetic,
244 | Thermal characterization of food products |  | 24/18 | x | x |  |  |  |  | x | x | [5 empty] | x |  |  | x | x | x | [15 empty] | x | [13 empty] | x | [9 empty] | jelly bear, swelling, creep,
245 | Determination of the content of organic material in clay |  | 24/21 | [6 empty] | x | [5 empty] | x |  |  |  | x | [14 empty] | x | [20 empty] | x | [5 empty] | coulometry, oxidation of organic material, loss of absorbed water, loss of water of crystallization
251 | Choosing the right baseline | x | 25/1 | x | x | [9 empty] | x |  | x | [12 empty] | x | x | [6 empty] | x | [5 empty] | x | [17 empty] | blank, sample blank, baseline, virtual baseline, true baseline, baseline type
252 | Determination of the Noack evaporation loss of lubricants by TGA |  | 25/7 | [8 empty] | x | [7 empty] | x | [13 empty] | x | [11 empty] | x |  |  |  |  | x | [10 empty] | engine oil, ASTM D6375, Noack volatility,
253 | The characterization of polymorphs by thermal analysis |  | 25/9 |  | x |  |  |  |  | x |  |  | x |  |  |  | x |  |  | x |  |  |  |  | x |  | x | [8 empty] | x | [13 empty] | x | [7 empty] | x |  |  |  | Venlafaxine hydrochloride, active pharmaceutical ingredient (API), 1,1-bis(4-hydroxyphenyl)cyclohexane (BHPC)
254 | Analysis of melting processes using TOPEMâ |  | 25/13 |  | x | [11 empty] | x |  | x | [10 empty] | x | [7 empty] | x | [19 empty] | x |  |  |  | TMDSC, sensible and latent heat flows, reversing and non-reversing heat flows, heat flow separation, sucrose-water
255 | Characterization of delivery systems by thermogravimetry |  | 25/18 | [8 empty] | x | [7 empty] | x | [10 empty] | x | [22 empty] | x |  |  |  | x |  |  |  | fragrance, Romasconeâ, crosslinked vinyl acetate,
256 | Detection and evaluation of weak sample effects in DSC |  | 25/21 | x |  |  |  |  | x | [7 empty] | x | [12 empty] | x | [6 empty] | x |  | x |  | x | [20 empty] | signal-to-noise ratio, slope compensation, denaturation of protein, lysozyme, epoxy resin/carbon fiber composite
261 | Optimum choice of method and evaluation in DMA measurements of composites | x | 26/1 | x |  |  |  | x | [13 empty] | x | [9 empty] | x |  |  |  |  | x |  |  |  | x | x | [19 empty] | laminates, anisotropic, isotropic, modulus, compliance, nanofilled elastomer,
262 | Thermogravimetric and calorimetric analyses of yeasts |  | 26/11 | [6 empty] | x |  | x |  |  |  |  | x |  |  | x | [17 empty] | x | x | [12 empty] | x | [5 empty] | x |  |  |  | Flavors, Saccharomyces Cerevisiae, limonene, transmission electron microscopy (TEM), morphology, yeast cell,
263 | Determination of the oil content in elastomers by TGA |  | 26/14 | [6 empty] | x |  | x | [7 empty] | x | [11 empty] | x | [9 empty] | x | [5 empty] | x | [13 empty] | NR/SBR, heating rate, pressure, vacuum
264 | Determination of calcium sulfate dihydrate and hemihydrate in cement |  | 26/16 | [7 empty] | x | [8 empty] | x | [14 empty] | x | [23 empty] | x |  |  | dehydration, gypsum
265 | Determination of oxidation stability by pressure-dependent OIT measurements |  | 26/18 | [5 empty] | x | x | [6 empty] | x | [9 empty] | x |  |  | x | [11 empty] | x | [15 empty] | x |  |  |  | PE, pressure influence, LLDPE, PP, HDPE, motor oils, chemiluminescence, diffusion process
266 | Thermochromism of HgI2 |  | 26/21 | [9 empty] | x |  |  |  | x | [9 empty] | x | [7 empty] | x | [6 empty] | x | [19 empty] | solid-solid transitions, microscope
271 | Heat capacity determination at high temperatures by TGA/DSC. Part 1: DSC standard procedures | x | 27/1 |  |  | x | [13 empty] | x | [12 empty] | x |  | x | [5 empty] | x | x | [13 empty] | x | [5 empty] | sapphire method, direct method, calibration, platinum crucible, sapphire, quartz
272 | Influence of the dwell time and dwell temperatures on the glass transition of injection molded parts |  | 27/6 | x | [12 empty] | x | [12 empty] | x | [17 empty] | x | [13 empty] | ABS, PC, injection molding, glass transition, step change of heat capacity
273 | Polymerization of ethylene and propylene: Synthesis and analysis from one company |  | 27/9 |  | x |  |  |  | x | [7 empty] | x | [12 empty] | x |  |  |  | x | [13 empty] | x | [13 empty] | Ziegler-Natta catalysts, MultiMax, PE-LD, PE-LLD, PE-HD, rate of polymerization, polymer chain
274 | DMA measurements for structure determination of anisotropic fillers |  | 27/12 | x |  |  |  | x | [13 empty] | x | [14 empty] | x | [20 empty] | x |  |  |  | nanocomposites, hydrogenated nitrile butadiene rubber (HNBR), filler orientation, TEM, SAXS
275 | The TGA-MS combination |  | 27/15 | [6 empty] | x | [9 empty] | x | [5 empty] | x | [8 empty] | x | [6 empty] | x | x | [18 empty] | Calcium oxalate monohydrate, CaC2O4.H2O, MS sensitivity
276 | Characterization of candies by DSC and microscopy |  | 27/18 | x | x | [11 empty] | x | [7 empty] | x |  | x | [10 empty] | x | [13 empty] | x | [9 empty] | hot-stage microscopy, Ostwald ripening
277 | Verification of the TMA force |  | 27/20 | [17 empty] | x | [24 empty] | x | [15 empty] | ASTM E 2206-02
281 | Heat capacity determination at high temperatures by TGA/DSC. Part 2: Applications | x | 28/1 | x |  | x |  |  |  | x | [9 empty] | x | [12 empty] | x |  | x | [6 empty] | x | [13 empty] | x | [5 empty] | sapphire method, glass, cobalt, Curie point, second order phase transitions, decomposition, CaCO3, CaO, process enthalpy
282 | The characterization of olive oils by DSC |  | 28/9 |  | x | [11 empty] | x | [20 empty] | x | [13 empty] | x | [9 empty] | Oxidation Induction Time (OIT), Oxidation Onset Temperature (OOT), Crystallization and melting behavior, storage conditions
283 | Tips on method development for DMA measurements in 3-point bending |  | 28/9 |  |  |  |  | x | [13 empty] | x | [14 empty] | x |  |  |  |  | x | [19 empty] | offset force, constant current, autooffset, sample geometry, printed circuit board (PCB), clamping, E-modulus
284 | Elastomer seals: Creep behavior and glass transition by TMA |  | 28/13 | x | [10 empty] | x | [5 empty] | x | [10 empty] | x | [15 empty] | x | [13 empty] | thermal stimulated creep (TSC), flow relaxation, creep and recovery, styrene-butadiene rubber (SBR), ethylene-propylene-diene rubber (EPDM),
285 | Temperature and enthalpy adjustment of the high pressure DSC827e |  | 28/17 |  | x | [11 empty] | x | [15 empty] | x | [8 empty] | x |  |  |  |  | x | [14 empty] | influence of pressure, enthalpy of fusion, indium, tin and zinc
291 | Analytical measurement terminology in the laboratory. Part 1: Trueness, precision and accuracy | x | 29/1 | [38 empty] | x |  | x | x | [16 empty] | uncertainty of measurement, measurement errors, repeatability, reproducibility
292 | Determination of phase transitions with simultaneous video observation |  | 29/10 |  | x | [5 empty] | x |  | x | x |  |  | x | [5 empty] | x | [10 empty] | x | x | [14 empty] | x | x | [10 empty] | Melting point, meniscus point, mercuric iodide, LDPE, HDPE, potassium dichromate, sugar, caffeine, vanillin, azoxydianisole, liquid crystal transitions,
293 | Measurement of thin films in shear by DMA |  | 29/14 | x |  |  |  | x | [13 empty] | x | [7 empty] | x | [10 empty] | x | x | [5 empty] | x | [13 empty] | stiffness correction, foils, sample preparation,
294 | Vitrification during the isothermal cure of a thermoset studied by TOPEM® |  | 29/17 | x |  | x | [8 empty] | x |  | x |  | x | [11 empty] | x | [26 empty] | x |  |  |  | ADSC, epoxy-amine, multi-frequency, vitrification time,
295 | Analysis of the foaming behavior of a fire retardant by TMA and TGA |  | 29/21 |  | x |  |  |  |  | x | [9 empty] | x | x | [8 empty] | x |  |  |  | x | [23 empty] | x |  |  |  | intumescent fire-retardant coating, vinylacetate polymer, intumescence reaction,
301 | Analytical measurement terminology in the laboratory. Part 2: Uncertainty of measurement | x | 30/1 | [38 empty] | x |  | x | x | [16 empty] | standard deviation, error, CITAC/EURACHEM Guide 2000, tolerance limits,
302 | Vitrification and devitrification during the non-isothermal cure of a thermoset studied by TOPEM® |  | 30/9 | x |  | x | [8 empty] | x |  | x |  | x | [11 empty] | x | [26 empty] | x |  |  |  | frequency dependence, DGEBA, polyoxypropylene diamine, Continuous-Heating-Transformation diagram (CHT)
303 | Quality control of hard PVC according to ISO 18373 |  | 30/12 | x | x | [11 empty] | x | [12 empty] | x | [15 empty] | x |  | x | [13 empty] | maximum processing temperature, degree of gelation,
304 | Analysis of thin multilayer polymer films by DSC, TMA and microscopy |  | 30/15 | x | x | [11 empty] | x |  |  |  | x | [5 empty] | x |  |  | x | [17 empty] | x |  |  |  | x | [9 empty] | packaging film, polyethylene (PE), PE-LD, PE-LLD, polyamides (PA), PA12, PA11
305 | Kinetics of nanocrystallization in an amorphous metal alloy |  | 30/18 | x | x | [11 empty] | x | [15 empty] | x | [24 empty] | x |  |  |  | Fe-Si-B-alloy, Fe73.5Si13.5B9Cu1Nb3, soft magnetic properties, AMFK, apparent activation energy, crystallization kinetics
306 | Quality assurance of a plain bearing made from a polymer |  | 30/21 |  | x |  |  |  |  | x | [6 empty] | x |  |  | x | [9 empty] | x | [17 empty] | x | [13 empty] | enthalpy of fusion, polypropylene (PP), polyoxymethylene (POM),
311 | Thermal analysis of polymers. Part 1: DSC of thermoplastics | x | 31/1 | x | x |  |  |  |  | x | [6 empty] | x |  | x | [10 empty] | x | [17 empty] | x | [13 empty] | PET, thermal history, high heating rates, OIT/OOT, frequency dependence
312 | Curing kinetics of EVA using DSC, DMA and model free kinetics |  | 31/9 | x | x | [9 empty] | x |  | x |  |  | x |  | x | [7 empty] | x |  | x | [25 empty] | x |  | x |  | solar panels, photovoltaic module, apparent activation energy
313 | UV curing of a cycloaliphatic epoxy resin using TOPEM® and conventional DSC |  | 31/13 | x | [10 empty] | x |  | x |  | x | [8 empty] | x |  |  | x | [23 empty] | x | [6 empty] | isothermal curing, post curing, vitrification, degree of cure, aging
314 | Analysis of the components of a sandwich composite panel by DMA |  | 31/17 | x |  |  |  | x | [13 empty] | x | [14 empty] | x | [10 empty] | x | [13 empty] | carbon fiber epoxy composite, polyurethane foam
315 | TGA/MaxRes used for studies on hydrogen storage |  | 31/20 | [7 empty] | x | [8 empty] | x | [5 empty] | x | [8 empty] | x | [22 empty] | x |  |  |  | sodium borohydride, NaBO2.xH2O, hydrate
321 | Thermal analysis of polymers. Part 2: TGA, TMA and DMA of thermoplastics | x | 32/1 | x | x |  | x | x |  | x |  | x |  |  |  | x |  |  |  | x | x | x | [7 empty] | x | [17 empty] | x | [13 empty] | PET, dilatometry, penetration,
322 | Stability studies of fish oils by high-pressure DSC. Comparison with classical methods |  | 32/9 | [6 empty] | x | [6 empty] | x | [20 empty] | x |  |  |  | x | [9 empty] | x | [5 empty] | x |  |  |  | OOT, OIT, peroxide value, SPME-GC, Solid phase microextraction,
323 | The revolutionary Flash DSC 1: maximum performance for metastable materials |  | 32/12 |  | x | [11 empty] | x | x | [11 empty] | x |  |  | x |  |  |  | x | [5 empty] | x |  |  |  |  | x | [7 empty] | x | [5 empty] | ultra-fast, fast heating and cooling, isotactic polypropylene, indium, polyamide 11 (PA11), PET
324 | TGA-FTIR: From the investigation of pyrolysis to the elucidation of fire retardancy mechanisms |  | 32/16 | [5 empty] | x | x | [9 empty] | x | [5 empty] | x |  |  |  |  | x |  |  | x | [23 empty] | x |  |  |  | Phosphorous based fire retardant (FR), epoxy resin, pyrolysis, degradation mechanisms
325 | Analysis of a fiber-reinforced composite by TOPEM® and DMA |  | 32/20 | x |  |  |  | x | [6 empty] | x |  | x |  | x |  |  | x | [14 empty] | x | [15 empty] | x | [5 empty] | x |  |  | Postcuring, carbon-fiber reinforced, epoxy composite,
331 | Thermal analysis of polymers. Part 3: DSC of thermosets | x | 33/1 | x |  | x |  |  | x |  |  |  | x |  | x |  | x |  | x | [11 empty] | x | [23 empty] | x | [6 empty] | Thermosets, KU600, curing, postcuring, TMDSC
332 | Rapid investigation of thermally hazardous substances |  | 33/6 | [5 empty] | x |  |  | x |  |  |  |  | x |  |  | x | [13 empty] | x | [22 empty] | x |  |  |  |  | 2-Nitrophenol, 4-nitrotoluene, nitrocellulose, picric acid, ammonium nitrate
333 | Thermal analysis of zoledronic acid hydrate |  | 33/10 |  | x | [5 empty] | x | x |  |  |  |  | x |  |  | x | [5 empty] | x | x | [8 empty] | x | [13 empty] | x | [11 empty] | Zoledronic acid, mass spectroscopy
334 | Determination of safety data for azides using model free kinetics (MFK) |  | 33/12 | [5 empty] | x | x |  | x |  |  |  |  | x | [16 empty] | x |  | x | [13 empty] | x |  |  | x |  |  |  | x |  |  |  |  | Azides
335 | Thermal analysis of milk powder |  | 33/14 | x | [6 empty] | x | [5 empty] | x |  | x | x | [8 empty] | x | [8 empty] | x | x | [12 empty] | x | [9 empty] | Milk powder, lumping, crystallisation, lactose
336 | Measurement of the stress-strain behavior of films in the TMA |  | 33/17 |  |  |  | x | [13 empty] | x | [8 empty] | x | [10 empty] | x |  |  |  |  | x | x | x | [13 empty] | Polyethylene film, aluminum film, error calculations
337 | TMA investigation of a hot melt adhesive |  | 33/21 | x | [12 empty] | x |  |  |  | x | [8 empty] | x | [17 empty] | x | [6 empty] | x | [6 empty] | Hot glues, gel point, DLTMA
341 | Thermal analysis of polymers. Part 4: TGA, TMA and DMA of thermosets | x | 34/1 | x |  |  | x | x | [6 empty] | x |  |  |  |  | x | x | x | [8 empty] | x | [23 empty] | x | [6 empty] | Thermosets, KU600
342 | The use of thermal analysis to characterize the hardness of pencil leads |  | 34/10 | [12 empty] | x | x |  |  | x | [40 empty] | x | Pencil leads, hardness
343 | The drying behavior of cobalt chloride |  | 34/13 | [7 empty] | x |  | x |  |  |  | x |  |  | x | [6 empty] | x | [7 empty] | x | [20 empty] | x | [5 empty] | Hydrate, cobalt chloride, color change, drying, microscopy, visual observation
344 | Sample preparation for DMA shear measurements |  | 34/15 | x |  |  |  | x | [6 empty] | x | [6 empty] | x | [8 empty] | x | x |  |  |  |  | x |  |  |  | x | [6 empty] | x | [6 empty] | x |  |  | x |  |  |  | Elastomer, liquids, modulus, compliance, anisotropic materials, thin films
345 | Analysis of air and moisture sensitive substances by thermogravimetric analysis |  | 34/20 | [6 empty] | x | [9 empty] | x | [12 empty] | x | x | [7 empty] | x | x | [5 empty] | x | [5 empty] | x | x |  | x |  |  |  | Nanostructure, thin films, MOCVD, decomposition, semiconductor, glovebox, inert conditions, thermal behavior
351 | Thermal analysis of polymers. Part 5: DSC and TGA of elastomers | x | 35/1 | x | x |  |  |  | x | [5 empty] | x |  | x |  | x | x | [11 empty] | x | [20 empty] | x | [8 empty] | Elastomer, EPDM, EVA, SBR, NBR, vacuum, ADSC, flame retardants
352 | Tentative method for determining the age of amber using DSC (TOPEM®) |  | 35/7 | x | [12 empty] | x |  | x | [19 empty] | x | [18 empty] | x |  |  | x | TOPEM, ageing, amber, dating
353 | Relaxation phenomena of isolated lignin measured by TOPEM® |  | 35/11 | x | [5 empty] | x | x | [5 empty] | x |  | x | [19 empty] | x | [21 empty] | x | Lignin, activation energy, Arrhenius, frequency dependence, TOPEM
354 | Calibration and adjustment of sample temperature for the DMA tension sample holder |  | 35/16 | [18 empty] | x | [18 empty] | x | x |  |  |  |  | x | [14 empty] | SDTA, temperature uncertainty
355 | Structure, properties and phase transitions of melt-spun polyvinylidene fluoride fibers |  | 35/19 | [9 empty] | x |  |  |  | x |  | x |  |  | x | [26 empty] | x | [12 empty] | PVDF, fiber, piezoelectric, polymorphism, TOPEM, phase transition
361 | Thermal analysis of polymers. Part 6: TMA and DMA of elastomers. | x | 36/1 | x | x |  | x | x | [6 empty] | x | [5 empty] | x | x | [9 empty] | x | [15 empty] | x | x |  |  |  | x | [8 empty] | Elastomer, EPDM, creep, SBR, swelling, master curves
362 | Curie point measurements by TGA and DSC |  | 36/10 | [13 empty] | x |  |  | x | [12 empty] | x | [8 empty] | x |  |  |  |  | x | [8 empty] | x |  | x |  |  |  | Nickel, magnetism
363 | Measurement of a polyurethane film in tension using the DMA 1 |  | 36/15 | x | x |  |  | x |  |  |  | x |  |  |  |  | x |  |  |  |  | x | [8 empty] | x | [16 empty] | x | [13 empty] | PUR, Arrhenius, frequency
364 | Practical aspects of the Flash DSC 1: Sample preparation for measurements of polymers. |  | 36/17 |  | x | [11 empty] | x | x | [11 empty] | x | [10 empty] | x | x | x | x |  |  | x | x | [13 empty] | Flash DSC, iPP, PBT, film, PET, silicone oil
365 | Chemical-physical properties of a novel biphasic biomimetic scaffold for tissue regeneration |  | 36/25 | [7 empty] | x |  |  |  |  | x |  |  |  | x | [13 empty] | x |  |  |  |  | x | [10 empty] | x | [7 empty] | x |  |  | x | cartilage, SEM, tissue regeneration
366 | DMA measurements in humid atmospheres |  | 36/28 |  |  |  |  | x | [13 empty] | x | [6 empty] | x | x | [12 empty] | x |  |  |  |  | x |  | x |  | x | x | x |  |  |  | x | x |  | x | TTDMA, humidity generator, immersion bath, solvents
371 | Sorption experiments with the TGA/DSC 1 | x | 37/1 | [6 empty] | x | x | [8 empty] | x | [8 empty] | x | [6 empty] | x |  | x | x |  |  | x |  |  |  |  | x |  |  | x |  | x | [9 empty] | sorption, water activity, sorption isotherm, deliquescence, wheat starch, relative humidity
372 | The strange behavior of a bouncing modeling putty |  | 37/9 | x | x |  |  | x | [13 empty] | x | [9 empty] | x | [15 empty] | x | [13 empty] | frequency dependence, mechanical behavior, modeling putty, silicone rubber
373 | Study of the curing behavior of a trifunctional epoxy resin |  | 37/12 | x |  | x | [8 empty] | x |  | x |  | x | [11 empty] | x | [21 empty] | x |  | x |  |  | x | x |  |  | epoxy, TOPEM, postcuring
374 | New methodology developed for DSC for the analysis of phase change materials |  | 37/16 |  | x | [11 empty] | x | [12 empty] | x | [9 empty] | x |  | x | [15 empty] | x | x |  |  | paraffin, reference crucible, PCM, phase change materials
375 | Thermoanalytical characterization of oxo-biodegradable polymers |  | 37/19 | [6 empty] | x | [6 empty] | x |  |  | x | [9 empty] | x |  |  | x | [14 empty] | x | [13 empty] | packaging film, polyethylene (PE), PE-LD, PE-LLD, catalysts, metal salts
381 | Curve interpretation, Part 1: Variation of experimental conditions | x | 38/1 | x | x |  | x | x |  |  |  |  | x |  | x |  | x |  |  | x | x | x | [7 empty] | x | x | x |  |  |  | x | x |  |  |  |  | x | [19 empty] | sulfapyridine, EPDM, multiple heating runs, variation of measurement gas
382 | Differentiation between two polypropylene samples using Flash DSC |  | 38/13 |  | x | [11 empty] | x | x | [11 empty] | x | [10 empty] | x | [6 empty] | x | [9 empty] | x |  |  |  | Flash DSC, PP, first heating run FDSC
383 | Determination of vapor pressure and the enthalpy of vaporization by TGA |  | 38/15 | [8 empty] | x | [7 empty] | x | [13 empty] | x | [7 empty] | x |  | x |  |  | x | [10 empty] | x |  |  |  | Benzoic acid, benzophenone, salicylic acid, ferrocene, Clausius-Clapeyron, Langmuir, Antoine coefficients
384 | The use of TOPEM® to analyze the first heating run of biodegradable disposable cups |  | 38/19 | x | x | x | [10 empty] | x |  | x | [10 empty] | x | [11 empty] | x |  | x |  |  |  | x |  |  |  | x | [9 empty] | Temperature modulation, PLA, polylactide
385 | Investigation of the sorption behavior of a zeolite using a TGA/DSC 1 coupled to a humidity generator |  | 38/22 | [7 empty] | x | [5 empty] | x |  |  | x | [8 empty] | x | [5 empty] | x | [15 empty] | x |  |  |  |  | x |  | x | x |  |  | Water activity, sorption isotherm, GAB, sorption enthalpies
386 | Determination of low concentrations of wax in oils by DSC |  | 38/25 |  | x | [11 empty] | x | [16 empty] | x | [6 empty] | x | [9 empty] | x | [10 empty] | Crucible size, 100 μl crucibles, reference crubible, alox, Al2O3
391 | Curve interpretation, Part 2: Variation of heating and cooling rates | x | 39/1 | x | x |  |  |  | x |  |  |  | x |  |  |  | x | x | x | x | [9 empty] | x | [5 empty] | x |  | x |  |  |  | x | [5 empty] | x |  | x | [11 empty] | Ballistic cooling, metastable materials, reorganization, sulfapyridine, sucrose-water, temperature modulation, kinetics
392 | Measurement of vapor pressure curves and the enthalpy of vaporization of liquids by HPDSC |  | 39/16 | [8 empty] | x |  |  |  |  | x | [5 empty] | x | [11 empty] | x | [5 empty] | x | x | [15 empty] | x |  |  |  | water, vapor pressure, high pressure crucible, pierced lid, high pressure DSC
393 | Composition of water-in-oil ammonium nitrate emulsions using TGA and DSC |  | 39/18 | x | x | [5 empty] | x |  |  |  |  | x | x |  |  | x | [14 empty] | x |  |  |  |  | x |  | x | [14 empty] | x | x |  |  |  | explosives
394 | Thermomechanical analysis of natural and cosmetically treated hair |  | 39/22 |  |  |  | x | [13 empty] | x | [17 empty] | x |  | x | [12 empty] | x | [7 empty] | conditioner, hair treatment
395 | Determination of heat capacity by temperature modulated DSC at temperatures above 700 °C |  | 39/24 |  |  | x | [10 empty] | x |  | x | [13 empty] | x | [8 empty] | x | x |  |  |  | x | [8 empty] | x |  | x |  |  |  | Nickel, sapphire, molybdenum, high temperature DSC, temperature modulated DSC, TGA/DSC
401 | Curve interpretation, Part 3: DSC curves and curves from other thermal analysis techniques | x | 40/1 | x | x |  |  | x |  |  |  |  | x |  | x |  | x |  |  | x | x | x |  |  | x | x |  |  |  | x | [5 empty] | x | [5 empty] | x | [5 empty] | x |  | x |  |  |  |  | x | [6 empty] | Adhesive tape, sulphapyridine, resin, gelation time, composite
402 | Characterization of the growth of intermetallic phases by DSC |  | 40/7 | [9 empty] | x |  |  | x | x | [15 empty] | x | [7 empty] | x | x |  | x |  |  |  |  | x | [6 empty] | x |  | x |  |  |  | Intermettalic compounds, IMC, solder, alloy
403 | Characterization of shape memory alloys by DSC and DMA, part 1: DSC analysis |  | 40/10 |  |  |  |  | x |  |  |  |  | x |  |  |  | x | [15 empty] | x | [15 empty] | x |  |  |  | x |  |  | x | [5 empty] | Shape memory alloy, SMA, nitinol, superelasticity, shape memory effect
404 | Investigation of the bouncing behaviour of two rubber balls |  | 40/15 | x | x |  |  | x | [8 empty] | x |  |  |  |  | x | [9 empty] | x | [15 empty] | x | [13 empty] | Bouncing balls, energy dissipation, master curve
405 | Characterization of biomass using TGA/DSC coupled to a mass spectrometer |  | 40/18 | [7 empty] | x |  |  |  |  | x |  |  |  | x | [5 empty] | x | [7 empty] | x |  |  |  |  | x | [20 empty] | x |  | Corn, maize, eucalyptus, renewable energy
406 | Determination of the adiabatic Time to Maximum Rate by DSC for thermal safety assessment |  | 40/20 | [5 empty] | x | [7 empty] | x | [22 empty] | x | [16 empty] | x |  |  |  |  | Thermal safety diagram, risk assessment
407 | Determination of the water content of an ionic liquid |  | 40/24 | [7 empty] | x | [8 empty] | x | [5 empty] | x | [7 empty] | x | [16 empty] | x | [10 empty] | Quantitative analysis, 1-Ethyl-3-methylimidazolium methyl sulfate, EMIMS
411 | Curve interpretation Part 4: TGA measurements | x | 41/1 | x | x |  |  | x |  |  |  | x | x |  |  | x | x |  |  | x | x | x |  |  | x | x | [5 empty] | x |  |  | x | x | [5 empty] | x | x | x |  |  |  | x |  | x | [5 empty] | x |  | x |  |  |  | curve interpretation, measurement parameters, optimization,
412 | Reliable determination of sample mass - the concept of minimum weight |  | 41/14 | [16 empty] | x | [22 empty] | x |  | x |  | x | [14 empty] | minimum weight, balance, sample mass
413 | Characterization of shape memory alloys by DSC and DMA, Part 2: DMA analysis |  | 41/18 |  |  |  |  | x |  |  |  |  | x | [8 empty] | x | [10 empty] | x | [15 empty] | x |  |  |  | x |  |  | x | [5 empty] | Shape memory alloy, SMA, nitinol, superelasticity, shape memory effect
414 | Curing behavior of aqueous resins using high pressure crucibles |  | 41/22 | [5 empty] | x |  |  | x |  |  | x |  | x | [16 empty] | x | [6 empty] | x | x |  | x | [10 empty] | x |  |  |  | x |  |  | melamine-formaldehyde resin, MFK
415 | Separation of melting and decomposition using high heating rates |  | 41/24 | x | x |  |  |  | x | x | [6 empty] | x | x | [15 empty] | x | [7 empty] | x | x | [14 empty] | x |  |  |  | separation overlapping effects, melting, decomposition, true melting temperature
421 | Curve interpretation Part 5: TMA curves | x | 42/1 | x | x |  | x | x |  | x |  |  |  |  | x | [5 empty] | x |  |  |  |  | x |  |  |  | x | x | [9 empty] | x | x | x |  |  |  |  | x | x | x |  |  | x |  | x | x |  | x |  |  |  | method development
422 | Quality control of olive oil by UV/VIS spectroscopy and DSC |  | 42/12 |  | x |  |  |  |  | x | [5 empty] | x | x | [20 empty] | x |  |  |  | x | [9 empty] | x | [5 empty] | x |  |  |  | olive oil, UV/VIS spectroscopy, quality control
423 | Influence of water on the glass transition temperature of honey |  | 42/15 | x | x | [5 empty] | x | [5 empty] | x |  |  | x | [17 empty] | x |  |  |  | x | [9 empty] | x | [9 empty] | honey, quality control, water content
424 | Databases as an aid for the interpretation of DSC curves |  | 42/18 | x | x | [11 empty] | x | [12 empty] | x | [13 empty] | x |  |  |  | x | [13 empty] | database, library, quality control, FTIR spectra
425 | Investigation and Identification of Constituents of a Rubber Compound |  | 42/21 | x | [5 empty] | x | [5 empty] | x | x |  |  | x |  | x |  |  |  | x | [5 empty] | x | [9 empty] | x | x | x |  |  |  | x | [9 empty] | x |  |  |  | NBR, NR, limonene, GC/MS, IST16 storage interface
431 | Curve interpretation Part 6: Variation of DMA measurement conditions | x | 43/1 | x | x |  |  | x | [13 empty] | x | [9 empty] | x | [9 empty] | x | x |  |  |  |  | x |  |  |  |  | x |  | x |  |  | x |  |  |  | measurement conditions, NR, SBR, adhesive tape, deformation mode, filler
432 | Determination of weak glass transitions in semicrystalline polymers |  | 43/13 | x | [12 empty] | x | [12 empty] | x | [10 empty] | x | x | x | x |  |  |  | x | [9 empty] | x |  |  |  | isotactic polypropylene, delta cp glass transition
433 | Identification of an unknown polymer sample using TGA-GC/MS |  | 43/15 | [12 empty] | x |  |  |  | x | [5 empty] | x |  |  |  | x | [11 empty] | x | x | x |  |  |  | x | [9 empty] | x |  |  |  | blend composition, IST16, GC/MS, storage interface
434 | The thermal decomposition of PA 6.6 compounds using model free kinetics (MFK) |  | 43/19 | [5 empty] | x | [10 empty] | x | [9 empty] | x | [11 empty] | x |  | x |  |  |  | x | [9 empty] | x |  |  |  | model free kinetics, MFK, pyrolysis, flame retardant, curve simulation
435 | Dynamic mechanical properties of very thin adhesive joints |  | 43/23 | x |  |  |  | x | [13 empty] | x | [7 empty] | x |  |  | x | [7 empty] | x | x | x | x |  |  |  | x | x | [5 empty] | x |  |  | x |  |  |  | adhesive layer, layer thickness, PU, gold substrate, aluminum substrate, polymer metal interphase, crosslinking density
441 | Curve interpretation Part 7: DMA measurements with results from other thermal analysis techniques | x | 44/1 | x | x |  |  | x | [6 empty] | x |  | x |  |  | x | x | x | [7 empty] | x | x | x | [15 empty] | x | [13 empty] | vitrification, TOPEM, PTFE, PET, PU
442 | Safety analysis of a nitration reaction by DSC and reaction calorimetry |  | 44/7 | [5 empty] | x | [7 empty] | x | [16 empty] | x | [7 empty] | x |  | x | [5 empty] | x | x | [5 empty] | x | x |  |  |  | TMR, TD24, MAT, MTSR, process temperature, benzaldehyde, RC1e reactor
443 | Flame-resistant rubber blends - a new approach for optimizing properties |  | 44/11 | [6 empty] | x | [9 empty] | x | [11 empty] | x | [9 empty] | x | [5 empty] | x |  |  |  |  | x | [5 empty] | x |  |  | Limiting oxygen index, LOI, aluminium hydroxide, active silica, inactive silica
444 | Curing reaction of a two-component methacrylate sample by UV-DSC |  | 44/14 | [5 empty] | x | [5 empty] | x |  | x | [10 empty] | x | [5 empty] | x |  |  | x |  |  |  | x | x | [6 empty] | x | [5 empty] | x |  |  | x | x |  |  | PEGDM, polyethylene glycol dimethacrylate, PEGMM, polyethylene glycol monomethacrylate, DMPA, 2,2-dimethoxy-2-phenylacetophenone
445 | Quality control of lipstick and mascara by thermal analysis |  | 44/16 |  | x | [10 empty] | x | x |  |  | x | [13 empty] | x | x | [18 empty] | x | [7 empty] | wax, oil, carbon black, pigments
446 | Synthesis of tricalcium phosphate as bone replacement material |  | 44/18 | [5 empty] | x |  |  |  | x |  |  | x |  |  |  | x | x | [13 empty] | x |  |  |  | x | [10 empty] | x | [7 empty] | x |  |  |  | TCP (tricalcium phosphate), β-TCP, α-TCP, α'-TCP, solid-solid transitions, enantiotropic transition, monotropic transition
447 | Characterization of polymer-coated TiO2 particles by TGA and DSC |  | 44/21 | x | [11 empty] | x | x |  |  | x | [13 empty] | x | x |  | x |  |  |  |  | x | [5 empty] | x | [6 empty] | x | [6 empty] | pigments, layer thickness, graft, polymer content, polymerization time
448 | Identification of thermoplastic polymers: melting point analysis by DSC |  | 44/23 |  | x | [11 empty] | x | [12 empty] | x | [17 empty] | x | [9 empty] | x |  |  |  | polypropylene, polyethylene, POM, PEEK, PET, polyamide, nylon, PA66, PA12, melting enthalpy, identification
451 | Thermogravimetric analysis and gas analysis, Part 1: Basic principles and overview | x | 45/1 | [8 empty] | x |  |  |  | x |  |  |  | x | [5 empty] | x |  |  |  | x |  | x |  | x |  |  | x |  |  | x |  |  | x |  |  |  |  | x |  | x | x | x | x |  | x |  | x | x | x | x |  | NR, SBR, permanents, volatiles, FTIR, MS, GC/MS, micro GC/MS, technique comparison
452 | Dynamic-mechanical characterization of the swelling of elastomers in oil at temperatures up to 200 °C |  | 45/12 |  |  |  |  | x | [13 empty] | x | [9 empty] | x | [9 empty] | x | x | x |  |  |  | x | x |  |  |  | x |  |  |  |  | x |  |  |  | EPDM, fluid bath, DMA 1, motor oil, corrected modulus
453 | Use of the Flash DSC to determine the glass transition temperature of crystalline materials that decompose during melting |  | 45/15 | x | x |  |  |  |  | x |  |  | x |  |  |  | x | x | [17 empty] | x | [5 empty] | x | x | [6 empty] | x | [7 empty] | x |  |  |  | Prednisolone, crystallization suppression
454 | Strategies for separating overlapping effects, Part 1: DSC |  | 45/18 | x | x |  |  |  |  | x |  | x | x |  |  |  | x | x | x | [10 empty] | x |  |  |  | x |  | x |  |  |  |  | x | x |  | x |  |  |  | x |  | x | x | [6 empty] | x |  |  | x | PET, wax, FDSC, polylactide
455 | Water vapor sorption of product packaging using the ProUmid sorption test systems |  | 45/24 | [7 empty] | x | x | [16 empty] | x | [6 empty] | x |  | x |  |  | x | x | x | [6 empty] | x |  | x |  | x |  |  |  | x | x |  |  | SPS, Vsorp, relative humidity, permeability
461 | Thermogravimetry and gas analysis, Part 2: TGA-MS | x | 46/1 | [6 empty] | x | x | [8 empty] | x | [5 empty] | x |  |  |  |  | x | x |  |  | x |  |  |  |  | x |  |  | x |  |  |  |  | x |  | x |  |  |  |  | x | x | x |  |  |  |  | capillary position, scan analog, scan bargraph, MID, SIM, unknown sample, low concentrations, quantitation, amino resin, butadiene rubber (BR), ammonium perchlorate (NH4ClO4), limestone, complex rubber compound, TG-GC/MS
462 | DSC measurements of metals by DSC and TGA/DSC |  | 46/8 |  | x | x | [6 empty] | x |  |  |  | x | x | x | x | [12 empty] | x |  | x | [6 empty] | x | x | [12 empty] | x | [5 empty] | DSC vs TGA/DSC, DTA, SDTA, Al-Cu-Mg alloy, q-phase (Al2Cu), S-phase (Al2CuMg), eutetic, dissolution, precipitation, polycrystalline aluminum oxide (PCA) crucible, iron, a-modification, g-modification, d-modification, Curie transition, specific heat capacity, nickel, molybdenum, TOPEM
463 | Measurement of the thermal conductivity of powders by DSC |  | 46/12 |  | x | [11 empty] | x | [15 empty] | x |  | x | [6 empty] | x | [13 empty] | x | x |  | x |  |  | thermal insulation, Camirand's method, alumina powder Al2O3, Fe, SnO2, metal beads (In, Sn, Pb, Zn), silicone glue, helium, argon
464 | Determination of the water vapor permeability of packaging materials |  | 46/14 | [7 empty] | x | [17 empty] | x | x | [8 empty] | x |  |  | x | [5 empty] | x |  |  |  | x | [9 empty] | Water vapor transmission rate, ProUmid sorption test system, PE polyethylene film, paper sample, packaging material for cookies, sorption behavior, relative humidity
465 | Strategies for separating overlapping effects, Part 2: TGA |  | 46/17 |  | x |  |  |  |  | x | x | x |  |  |  | x |  |  |  | x | [5 empty] | x |  |  |  | x |  | x |  | x | x | [6 empty] | x | [5 empty] | x |  |  | x |  |  |  |  | x | [5 empty] | heating rate, MaxRes, CuSO4.5H2O, heating-cooling-heating, PET, carbon black, atmosphere, dolomite CaMg(CO3)2, SBR elastomer, reduced pressure (vacuum), crucible, C12Br10O (DECA), TG-MS, water content, ionic liquid
466 | Detection of previously unknown menthol polymorphs by Flash DSC |  | 46/21 | x | x | [7 empty] | x |  |  |  | x | x | [17 empty] | x | [13 empty] | x | [7 empty] | x |  |  |  | active substance, levomenthol, racemate of menthol, heating-cooling-heating, Flash DSC, conventional DSC
467 | Analysis of an unknown polymer sample by TGA/DSC-FTIR |  | 46/23 |  | x |  |  |  |  | x | x |  |  |  |  | x | x |  |  | x | [5 empty] | x |  |  |  | x | [17 empty] | x | [13 empty] | polyamide, ATR spectrum, Gram-Schmidt, chemigram, polymer blend, PA6, PA66, PP, PE
471 | Thermogravimetry and gas analysis, Part 3: TGA/DSC-FTIR | x | 47/1 | [5 empty] | x |  | x | [8 empty] | x | [5 empty] | x |  |  |  | x |  |  |  |  | x | [5 empty] | x | x |  | x |  |  |  | x | [7 empty] | x | [5 empty] | mirror speed, number of scans, resolution, blank spectrum, data analysis, Gram-Schmidt curve, chemigram, calcium oxalate monohydrate CaC2O4.H2O, identification of functional groups, absorption band, PVC, dehydrochlorination
474 | Flash DSC measurements of amorphous-crystalline phase transitions of Se1-xTex alloys |  | 47/10 | x | x | [11 empty] | x | x | [16 empty] | x | [20 empty] | x |  | x |  |  |  | chalcogenide glasses, phase change material (PCM), memory cell, SeTe alloy, EDXS, SEM, influence of the heating rate, influence of the Te concentration, crystallization activation energy, Kissinger analysis, melting point shift
475 | Detection of dimethylformamide in coatings using TGA-GC/MS |  | 47/13 | [8 empty] | x |  |  |  | x |  |  |  | x | [5 empty] | x |  |  |  |  | x |  |  | x | [6 empty] | x | x |  | x | [10 empty] | x | [6 empty] | powder coating, DMF, TGA-MS, MID, total ion current, total ion chromatogram TIC, quantification, determination of DMF concentration, calibration curve, spiking
476 | Determination of water content by Karl Fischer titration, TGA and TGA-Micro GC/MS |  | 47/17 | x | [5 empty] | x | x | [5 empty] | x |  |  | x | [5 empty] | x |  |  |  | x | [12 empty] | x |  |  |  |  | x | [13 empty] | water content, Karl Fischer, water extraction, ABS, decomposition, emission profiles, ethylbenzene, styrene, selectivity
477 | Understanding laboratory data integrity in thermal analysis |  | 47/20 | [41 empty] | x |  |  |  |  | x |  | x | [5 empty] | x |  |  | x | data integrity, good manufacturing practice GMP, regulations, FDA, MHRA, WHO, PIC/S, EMA, data quality, a data life cycle, active phase, inactive phase, ALCOA+ principle, system architecture, security and access control, audit trail, raw data, automated data transfer, computer validation
481 | Thermogravimetry and gas analysis, Part 4: TGA-GC/MS | x | 48/1 | [6 empty] | x | x |  |  |  |  | x |  |  |  | x | [5 empty] | x |  |  |  | x | [11 empty] | x | x |  |  |  |  | x | [13 empty] | IST the storage interface, polyamide 66 (PA66), storage mode, injection mode, carrier gas, multi-injectin mode, fast GC mode, total ion current TIC, NIST/Wiley library, retention time RT, emission profiles, quantitative determination, Match Quality
483 | Determination of the heat of combustion of carbon and carbonaceous inorganic materials |  | 48/11 | [6 empty] | x | x | [5 empty] | x |  |  | x | [14 empty] | x | [5 empty] | x | x |  | x | [11 empty] | x |  |  |  | x |  | heat of combustion, lower calorific value LCV, lower heating value LHV, higher calorific value HCV, higher heating value HHV, heat of condensation, special crucible combination, calibration curve, reproducibility, synthetic carbon black, coal, graphite, carbon fibers
484 | A new predictive micro-scale method for determining API solubility in polymeric matrices |  | 48/14 | x | x | [11 empty] | x | [18 empty] | x | [5 empty] | x | [7 empty] | x | [11 empty] | micro-scale solubility, amorphous solid dispersion ASD, hot-melt extrusion, active pharmaceutical ingredients API, BCKV equation, indomethacin, poly(vinylpyrrolidone-co-vinyl acetate), copovidone, temperature-dependent phase diagrams, Couchman-Karasz equation, lowest annealing temperature,
485 | Curing of a bonding varnish on laminated electrical sheets |  | 48/17 | x |  |  |  |  | x | [5 empty] | x |  | x |  |  |  |  | x | [8 empty] | x | [21 empty] | x | [8 empty] | enthalpy relaxation, model free kinetics MFK, curing kinetics, predicted isothermal conversions
486 | Influence of calcium carbonate on the crystallization kinetics of polypropylene at high supercooling |  | 48/20 |  | x | [11 empty] | x | x | [11 empty] | x | [17 empty] | x | [9 empty] | x |  |  |  | a-phase crystallization, mesophase crystallization, filled PP, unfilled PP, CaCO3, non-isothermal crystallization, isothermal crystallization, crystallization peak temperatures vs. cooling rate, isothermal crystallization peak time
487 | Determination of the polymer in an unknown sample by means of TGA-FTIR |  | 48/23 | [6 empty] | x | [5 empty] | x |  |  |  | x | [5 empty] | x |  |  |  | x | [17 empty] | x | [13 empty] | ATR infrared spectrum, POM polyoxymethylene, Gram-Schmidt, total infrared absorption, PTFE polytetrafluorethylene
491 | Thermogravimetry and gas analysis, Part 5: TGA-Micro GC/MS | x | 49/1 | [6 empty] | x | x | [8 empty] | x | [5 empty] | x |  |  |  |  | x | [11 empty] | x |  |  |  |  | x | [13 empty] | TGA-Micro GC, TGA-Micro GC/MS, separating column, thermal conductivity detector, MS detector, TCD chromatogram, carrier gas, emission profile, phenol-formaldehyde resin, total ion current TIC chromatogram
492 | Photo DSC brings new light into thermal analysis |  | 49/10 | [11 empty] | x |  | x | [10 empty] | x |  |  | x | [10 empty] | x | x | [11 empty] | x | [6 empty] | DSC, DSC Photocalorimetry, adhesives, sealants, coating material, light curing, UV curing, light source, 365 nm, 400 nm, 460 nm, LED lamp, emission spectrum, absorption spectrum, photoinitiator
493 | Reproducibility of the enthalpy of melting of an organic powder |  | 49/12 |  | x | [6 empty] | x |  |  |  |  | x |  |  | x | [13 empty] | x | [6 empty] | x | x |  | x |  |  | x |  |  | x | [11 empty] | benzamide, enthalpy of melting, reproducibility, choice of crucible, sampling rate, sample preparation, choice of baseline, statistics,
494 | Fast Scanning DSC: Selected application examples |  | 49/16 | x | x | [7 empty] | x |  |  |  | x | x | [11 empty] | x |  |  | x |  | x | [12 empty] | x | [7 empty] | x | [5 empty] | melting of metals, metal alloy, platinum-based alloy, metallic glass, crystallization temperature, enthalpy of crystallization, temperature-time-transformation diagram (TTT diagram), aluminum alloy, silicate glass, critical cooling rate, enthalpy relaxation, Vogel-Fulcher-Tammann equation, kinetics of glass formation, isothermal crystallization, gold alloy, nucleating agents, clarifier,
495 | Determination of caloric effects by TGA/DSC |  | 49/21 | x | x | [11 empty] | x |  |  | x | [10 empty] | x |  |  | x | [13 empty] | x |  |  | x | [10 empty] | simultaneous DSC, caloric effects, enthalpy of fusion, melting points, glass transition, epoxy resin, wax, quality control, statistics, trend analysis
496 | Influence of coalescing agents on the curing of polymer dispersions |  | 49/24 | x | [12 empty] | x | [7 empty] | x |  | x |  |  | x | x | [23 empty] | x | [6 empty] | water-based acrylic dispersion, coalescing agent, film formation, minimum film-formation temperature (MFFT), ASTM D2354
501 | Measurement of the expansion behavior of materials with a low coefficient of thermal expansion by TMA | x | 50/1 |  |  |  | x | [13 empty] | x | [8 empty] | x |  |  | x |  | x | [5 empty] | x | x |  | x |  | x | [9 empty] | x | [5 empty] | Invar, quartz, sapphire, uncertainties, repeatability, direct method, sapphire method, statistical analysis, ASTM E2113, instantaneous CTE, mean CTE, aluminum oxide, aluminum
502 | Thermodynamic properties for assessing thermal energy storage systems |  | 50/9 |  | x | x | [6 empty] | x |  |  |  | x |  | x | [13 empty] | x |  | x | [20 empty] | x |  |  |  | x |  | thermal energy storage (TES), storage capacity, thermodynamic properties, specific heat capacity, enthalpy of fusion, advanced adiabatic compressed air energy storage (AA-CAES), rock, cycling stability, argon, 30 ml platinum crucible, a-quartz, sandstone, limestone, felsic rock, reproducibility, aluminum-copper-silicon alloy, phase change material (PCM), sensible heat capacity, latent heat capacity, eutectic melting
503 | Fast Scanning DSC: Practical tips and information |  | 50/14 |  | x | [12 empty] | x | [11 empty] | x |  |  | x |  | x | [5 empty] | x | x | x |  |  |  | x | x | [7 empty] | x | [5 empty] | trigger, oxygen-free conditions, sensor support, helium, condensation of water, icing, time constant, sampling rate, UFH 1 sensor, UFS 1 sensor, system time constant, sensor support temperature, ready temperature, stand by temperature, temperature adjustment, conditioning and correction, sample size, sample preparation, sample positioning, optimizing thermal contact, contact media, silicone oil, oxygen-sensitive sample, method development, dynamic measurement, isothermal measurement
504 | Synthesis and characterization of barium titanate |  | 50/20 | [5 empty] | x | x | x | x | x |  |  | x | x |  |  | x | x |  |  |  |  | x | [8 empty] | x | [20 empty] | x |  |  |  | x |  | electroceramic, stoichiometric mixture, barium carbonate, titanium dioxide, formation of barium titanate BaTiO3, TiO2, calcination of BaCO3, solid-solid reaction, solid-solid transition, sintering, polymorphism, ferroelectric Curie temperature
505 | Analysis of a cobalt catalyst by TGA |  | 50/24 | [5 empty] | x | x | x |  |  |  |  | x |  |  |  | x | [14 empty] | x |  | x |  |  |  |  | x | [8 empty] | x | [8 empty] | x |  | metallic catalyst, coating, metal content, Fischer-Tropsch synthesis, hydrogenation, oxidation, H2 4%/N2 96%, Al2O3 substrate, cobalt oxide, CoO, Co3O4, Co2O3
511 | Moisture content, water content, loss on drying / Part 1: What exactly is meant and how are these quantities determined | x | 51/1 | [6 empty] | x | x | x | [7 empty] | x | [15 empty] | x |  | x | x |  |  | x | x |  |  |  |  | x |  | x |  | x | [9 empty] | moisture content, water content, loss on drying (LOD), volatile, gravimetric method, Karl Fischer titration (KFT), halogen moisture analyzer, critical mass loss rate, reference mass, drying oven, USP 40 (731), drying criterion, selectivity, volumetric KFT, coulometric KFT, cellulose, standard deviation, measurement time, total volatile content, honey
512 | Polymorphism of Tristearin |  | 51/11 |  | x | [7 empty] | x |  |  |  | x | [16 empty] | x | [7 empty] | x | [7 empty] | x |  | x |  |  |  | x | [5 empty] | polymorphism, tristearin, vegetable fats and oils, triglyceride, fatty acid, isothermal crystallization, solid-solid transition, maximum crystallization rate, crystallization time, heating-cooling-heating cycle, metastable phase, stable phase, qualitative phase diagram
513 | Determination of the composition of an unknown ternary mixture by TGA |  | 51/16 | [6 empty] | x | [5 empty] | x |  |  |  | x | [14 empty] | x |  |  |  | x |  |  | x |  | x | [15 empty] | x |  | composition, ternary mixture, barium sulfate, carbon black, lignosulfonate, expander, Excel Solver Add-in, best fit, multicomponent system
514 | Monotropic polymorphism in metallic alloys / Part 1: Flash DSC investigation of the melting of metastable phases |  | 51/19 | x | x | [7 empty] | x |  |  |  | x | x | [16 empty] | x | [6 empty] | x | [13 empty] | x | [5 empty] | polymorphism, kinetics, phase change, metallic alloys, amorphous metallic glass, metastable crystalline structure, monotropic polymorphism, enantiotropic polymorphism, gold-based alloy, solid-solid transition, solid-liquid-solid transformation, enthalpy, critical cooling rate, eutectic system, rapid process
515 | Identification of thermoplastic polymers: decomposition analysis by TGA |  | 51/22 |  | x |  |  |  |  | x | x | x |  |  |  | x |  |  |  | x | [9 empty] | x | [11 empty] | x |  | x |  |  |  | x | [13 empty] | temperature program, volatile component, pyrolysis, decomposition, ash content, composition, identification, carbon black, pyrolysis carbon black, combustion, polyamide 6, polyvinylchloride (PVC), polyolefin, polystyrene, PEG, polyester, PET, PPE, POM, SAN, PMMA, PES, PA66, PVAc, PEEK, PBT, reference library
521 | Moisture content, water content, loss on drying, Part 2: Special possibilities using the TGA | x | 52/1 | [6 empty] | x | x | [8 empty] | x | [5 empty] | x | [9 empty] | x | [5 empty] | x | x |  |  |  |  | x |  | x |  | x | [9 empty] | water content, moisture content, loss on drying (LOD), vacuum TGA, Evolved Gas Analysis (EGA), TGA-MS measurement, LOD repeatability, TGA-MS calibration measurement, MS sensitivity for water, water of crystallization, LOD accuracy, LOD determination, tips and tricks, wait time on the sample turntable, lid piercing kit, sorption or desorption processes
522 | Polymorphism in metallic alloys, Part 2: Measurement of the heat capacity of metastable phases by TOPEM and Flash DSC |  | 52/6 | x | x | x | [6 empty] | x |  |  |  | x | x | x | [15 empty] | x | [6 empty] | x | [13 empty] | x | [5 empty] | Polymorphism, specific heat capacity, metastable phases, metal alloy, crystalline modifications, unstable modifications, gold-based metal alloy, metallic glass, monotropic polymorphism, TOPEM cooling, supercooled liquid, metastable crystalline modification, stable crystalline modification, determination of the heat capacity, compensation of thermal losses
523 | Innovation and standardization: The development of a standard for the Flash DSC |  | 52/10 | [14 empty] | x | [27 empty] | x |  | x | [13 empty] | international standard, standardization, International Organization for Standardization (ISO), national standards organization, ISO body, technical committee (TC), sub-committee (SC), working group (WG), acceptance criteria, development stage, European Standards Organization (CEN), EN ISO standard, review cycle, standard development, Flash DSC, Plastics - Fast Differential Scanning Calorimetry - Chip Calorimetry
524 | Determination of the filler content in a composite |  | 52/14 | x | x |  |  |  |  | x | [5 empty] | x | x |  |  | x | [9 empty] | x |  |  |  |  | x |  | x |  |  |  |  | x |  | x |  |  |  | x | [13 empty] | filler content, carbon fiber reinforced PEEK, residual carbon of pyrolysis, carbon fiber, combustion, step height of glass transition, enthalpy of fusion, evaluation temperature limits, heating-cooling-heating, uncertainty
525 | TGA-IST-GC/MS-FTIR analysis of polypropylene |  | 52/18 |  | x |  |  |  |  | x | [5 empty] | x |  |  |  | x | [5 empty] | x |  |  |  | x | [11 empty] | x | [5 empty] | x | [13 empty] | simultaneous coupling, experiment setup, GC/MS measurement, FTIR measurement, ammonium polyphosphate-based intumescent flame retardant,
526 | Determination of the constituents of cement clinker by TGA |  | 52/23 | [6 empty] | x | x |  |  |  |  | x |  |  |  | x | [14 empty] | x | [6 empty] | x |  | x | [11 empty] | x |  |  | x |  |  | cement clinker, mixture, quantitative content, individual constituents, calcium carbonate, calcium hydroxide, magnesium carbonate, magnesium hydroxide, loss of moisture, dehydration, decarboxylation, dehydroxylation
531 | Calibration and adjustment of DSCs, Part 1: Which materials are suitable? | x | 53/1 |  | x | [7 empty] | x |  |  |  | x | [15 empty] | x | x | x | [5 empty] | x | [5 empty] | x | [14 empty] | calibration, adjustment, certified reference material, suitability, repeatability, reference value, enthalpy of fusion, NIST, LGC, total single calibration method (TSCM), taulag, onset temperature, standard deviation, crucible/gas combination, indium, zinc, bismuth, water, cyclopentane, lithium sulfate, naphthalene, lead, adamantane, octane, n-heptane, n-hexane, BIPM
532 | Polymorphism in metallic alloys, Part 3: A thermodynamic description |  | 53/10 | x | x | x | [6 empty] | x |  |  |  | x | x | x | [15 empty] | x | [8 empty] | x | [11 empty] | x |  | x |  |  |  | polymorphism, metallic alloy, stable and metastable, crystalline modification, enthalpy, entropy change, Gibbs free energy, modification stability
533 | Quantification of low contents of styrene-butadiene rubber in natural rubber blends |  | 53/14 | x | [5 empty] | x | x | x |  |  |  | x | x |  |  | x |  | x |  |  |  | x | [5 empty] | x | [9 empty] | x | x | x |  |  |  | x | [13 empty] | Quantification of SBR content, styrene-butadiene-rubber (SBR), natural rubber (NR), NR/SBR blends, ATR, TGA-FTIR, TGA-MS, TGA-IST-GC/MS, total ion chromatogram (TIC), identification, decomposition products, emission profiles
534 | Determination of the optimum storage temperature for EVA by DMA |  | 53/22 | [18 empty] | x | [9 empty] | x | [9 empty] | x |  | x |  |  |  | x | [13 empty] | optimum storage temperature, ethylene-vinyl acetate (EVA), low-molecular weight EVA, standard EVA, frequency dependence of viscosity, frequency scan, master curve construction, viscosity master curve, shift diagram
535 | Thermal stability of cathode materials used in batteries |  | 53/24 | [6 empty] | x | x | x | x | [6 empty] | x | [14 empty] | x | [20 empty] | x |  |  |  | x |  | thermal stability, cathode materials, rechargeable metal-ion battery, lithium-ion battery, lithium cobalt dioxide (LiCoO2), lithiumironphosphate (LiFePO4)
541 | Isothermal calibration and adjustment, Part 2: Heating rate dependence of temperature measurement | x | 54/1 |  | x |  |  |  |  | x | [6 empty] | x |  |  | x | x | [7 empty] | x |  |  |  | x |  | x |  | x | x |  |  |  | x |  |  |  |  | x | x |  |  |  | x |  |  |  | x | [5 empty] | isothermal calibration, adjustment, heating rate dependence, temperature accuracy, dynamic calibration, tau lag adjustment, isothermal temperature calibration, isothermal Step method, isothermal temperature deviation, Expert method, Standard method, Expert calibration, Expert adjustment, temperature error, delamination, sorption, OIT, heating rate independence
542 | Characterization of gelatin and gelatin gels by TGA/DSC-MS, DSC and TMA |  | 54/8 | x |  |  |  |  | x | x | x | x |  |  |  | x | x |  |  | x | x |  |  |  |  | x | [11 empty] | x | x |  | x | x | [7 empty] | x |  | x | [9 empty] | gelatin, gelatin gel, water content, gel formation, Richardson method, enthalpy relaxation, denaturation and renaturation, denaturation enthalpy, aging time, gelatin content, isothermal renaturation, sol to gel transition, stability of gelatin gel, gel to sol transition, relative gel strength, liquefaction temperature
543 | Moisture curing of an adhesive using the TMA/SDTA 2+ |  | 54/14 | [5 empty] | x | [5 empty] | x | [5 empty] | x | [7 empty] | x |  | x | [9 empty] | x | x | x | [11 empty] | x | [6 empty] | moisture curing, adhesive, polyurethane (PUR), isothermal curing behavior, gelation time, DLTMA-Sorption, minimum and maximum relative humidity
544 | Reverse engineering of an unknown elastomer |  | 54/17 | x | [5 empty] | x |  | x |  |  |  | x | x |  |  | x |  | x |  |  |  | x | [5 empty] | x | [9 empty] | x | [5 empty] | x | [13 empty] | unknown elastomer, reverse engineering, deformulation analysis, identification and quantification, analysis of competitors' products, FTIR-ATR spectra, rubber blend, natural rubber (NR), butadiene rubber (BR), styrene-butadiene rubber (SBR), frequency-dependent effect, pyrolysis of polymers, decarboxylation, TGA residues, total ion current (TIC) chromatogram, vulcanization, inorganic fillers
545 | Influence of sample volume in the high-pressure crucible on the DSC signal |  | 54/23 |  | x | [11 empty] | x | [15 empty] | x |  | x | [5 empty] | x | [5 empty] | x |  |  |  | x | [5 empty] | x |  |  |  |  | high-pressure crucible, influence of sample volume, influence of heating rate, recommendations for adjustment, melting onset, melting peak area, enthalpy of fusion, tau lag adjustment, heat flow adjustment
551 | Calibration and adjustment, Part 3: OIT and OOT applications | x | 55/1 | [6 empty] | x | [6 empty] | x | [12 empty] | x |  |  | x |  |  |  |  | x |  |  | x | x |  |  |  |  | x | x |  |  |  | x | [9 empty] | oxidation stability, oxidation induction time OIT, oxidation onset temperature OOT, temperature dependence of the OIT, ASTM D 4065, ASTM E 1858, ISO EN DIN 11357-6, quasi-isothermal calibration, polyolefines, polypropylene, polyethylene, vegetable fats and oils, oxidative decomposition, activation energy, fatty acid, olive oil, sunflower oil, coconut oil, palm oil, linseed oil, evaluation limits, sample preparation, temperature estimation for OIT measurements
552 | Investigation of medical face masks by thermal analysis |  | 55/12 |  | x |  |  |  |  | x | x | [5 empty] | x |  |  | x | [5 empty] | x |  |  |  | x | [17 empty] | x |  | x | [11 empty] | medical face mask, composition, thermal stability, decomposition, emission of formaldehyde, ISO 14184-1, polypropylene
553 | Dynamic water vapor sorption and Raman spectroscopy |  | 55/15 |  | x |  |  |  | x |  |  |  | x | [15 empty] | x | [6 empty] | x |  | x | x |  |  |  | x | [6 empty] | x |  | x | [9 empty] | ProUmid sorption test system, DVS, integrated Raman spectroscopy, dynamic water vapor sorption behavior, moisture-induced structural changes, formation of hydrates, polymorphic structures, crystallization of amorphous content, L-Lysine HCl, creatine, skimmed milk powder, amorphous and crystalline lactose
554 | Thermal expansion study of natural fiber nanocomposites |  | 55/18 | x |  |  | x |  |  | x | [10 empty] | x | [15 empty] | x | [10 empty] | x | [13 empty] | thermal expansion and shrinkage, natural fiber nanocomposite, fiber orientation, nanofiller, fiber-reinforced epoxy composite, hybrid composite, woven or non-woven mat form, composition of the composite, mean CTE, dimensional stability, glass transition, ASTM E1545, delamination temperature
555 | Characterization of the core-shell morphology of block-copolymer nanoparticles by temperature modulated DSC |  | 55/22 | x |  | x | [9 empty] | x | x |  | x | [17 empty] | x |  |  |  | x | x |  | x | [13 empty] | x |  |  |  | core-shell morphology, block-copolymer nanoparticle, poly(hydroxyethyl acrylate) (PHEA), polystyrene (PS), interface weight fraction, annealing time, phase seperation, transmission electron microscopy (TEM), temperature-modulated DSC, ADSC
556 | Flash DSC determination of the delay time for primary crystallization in amorphous materials |  | 55/27 | x | x | [12 empty] | x | [11 empty] | x |  |  | x | [8 empty] | x |  | x |  |  |  | x | [7 empty] | x |  | x |  |  |  | delay time for primary crystallization, Al-based metal alloy, Zn-based metal alloy, polypropylene, Tg vs. annealing time, transmission electron microscopy (TEM), X-ray diffraction
561 | Calibration and adjustment, Part 4: Delamination | x | 56/1 | x | x |  | x |  |  |  | x | [5 empty] | x |  |  | x | x |  | x |  |  | x |  |  |  | x | x |  | x |  |  |  | x |  |  |  |  | x | [5 empty] | x | x | [6 empty] | x | [5 empty] | Delamination of PCB (printed circuit board) by TMA, delamination of epoxy-based printed circuit boards, influence of temperature on delamination time
562 | Thermal analysis of composites |  | 56/2 | x |  |  | x | [9 empty] | x |  |  | x | x | x | [7 empty] | x | x |  | x |  |  |  | x |  |  |  |  | x | [5 empty] | x | x | [12 empty] | Composites, PCB (printed circuit board), requirements for a printed circuit board, thermal stability, PCB FR-4 (flame retardant, glass fiber cloth, epoxy resin, frequency dependence of glass transition
563 | Melting and decomposition of vitamin C |  | 56/3 |  | x |  |  |  |  | x | [6 empty] | x |  |  | x |  |  |  |  | x |  | x | [6 empty] | x |  | x |  | x |  |  |  | x | [7 empty] | x |  | x | [9 empty] | heating rate dependence of the onset temperature of the melting peak, decomposition of vitamin C before melting at low heating rates
564 | Quantification of individual compounds by TGA-Micro GC/MS |  | 56/4 | [6 empty] | x | x | x | [7 empty] | x | [5 empty] | x | [7 empty] | x | x | [6 empty] | x | x | [14 empty] | x |  |  |  | qualitative and quantitative information about gaseous decomposition products, use of the different modules (A, B, C), emission profiles, quantification using calibration factor from the TGA mass loss, quantification using certified gas mixtures
565 | Isothermal crystallization of cis-1,4-polybutadiene |  | 56/5 | x | [13 empty] | x | [11 empty] | x | [10 empty] | x | x |  | x |  |  |  | x | [13 empty] | crystallization behavior of elastomers with low glass transition temperatures by using flash-DSC instead of conventional DSC, evaluation by using Kolmogorov-Johnson-Mehl-Avrami (KJMA) equation (primary crystallization)