## Slide 1: Introduction to the Enhanced AIM
When Q.i was first introduced, a ladder logic driver program – called the Application Interface Module (AIM) - was created for Rockwell ControlLogix processors .
Cyclic Data
Cyclic Data
Press Space Bar When Ready to Continue
It did the following:
Organized cyclic data into usable blocks for the PLC program.
Handled sending and receiving discrete messages to the Q.i
Including some rather complicated message retry logic in case a discrete message failed to get through.
Done
Start Feed
Retry Feed
Start Feed
Done
JagXtreme Q.i
AIM

## Slide 2: Enter the IND780
Cyclic Data
Cyclic Data
IND780 Q.i
When the IND780 Q.i was introduced, Mettler-Toledo made sure that it was compatible with the original "Classic" AIM.
Done
Start Feed
Start Feed
Press Space Bar When Ready to Continue
But we also saw an opportunity for some improvements!
Including how the messaging worked.
AIM

## Slide 3: Simplify with Cyclic Data
Cyclic Data
Cyclic Data
IND780 Q.i
If a "little burp" occurs and a cyclic message gets lost, it's not usually a problem because another cyclic message will be along shortly.
No complicated retry logic is necessary!
Cyclic Data
AIM
Press Space Bar When Ready to Continue
That's the basic idea behind the Enhanced AIM.

## Slide 4: Field Bus Bridge Comparison
Merging the Discrete Messages in with the Cyclic Data caused the cyclic data slots to expand – which changed the number of Instruments that will fit on one Field Bus Bridge card.
Classic AIM
Enhanced AIM
496 Bytes total
432 Bytes total
20 Bytes for each Instrument
36 Bytes for each Instrument
24 Scales and Flow meters per Bridge
12 Scales and Flow meters per Bridge
Press Space Bar When Ready to Continue
Note the I/O Assembly Instance Sizes
Note the I/O Assembly Instance Sizes

## Slide 5: Enhanced AIM and new IND780 Features
Stored Material Feed Commands allow a sequence of feeds to be set up, and then simultaneously triggered using a single 'GO' command.
New Feature – Stored Commands
Bit Commands allow commands to the Q.i to be triggered with a single bit.
New Feature – Bit Commands
New Cyclic Status values
There are a number of new features only available using the Enhanced Communication Mode
Press Space Bar When Ready to Continue
Details for these new features are covered in the IND780 Q.i Technical Manual.

## Slide 6: AIM Configuration Comparison
There are a number of Configuration parameters that are shared between the two AIM's.
For the most part, you should be able to accept the default parameters, except for the Number of Bridges. You must tell the AIM how many bridges it needs to process.
Press Space Bar When Ready to Continue
This bit must be turned on when a bit command is being issued. It should be turned off any other time.

## Slide 7: Mixed Fieldbus Configurations
The Classic AIM was setup by default to only allow one field bus to be used at a time. While mixing Field Busses could be done, it required a significant amount of customized programming.
The Enhanced AIM moves the Field Bus designation to the Bridge configuration, which allows the user to choose what field bus to use for each Bridge.
Bridge #1
Bridge #2
Bridge #3
Bridge #4
Bridge #5
Bridge #6
Bridge #7
Press Space Bar When Ready to Continue

## Slide 8: Bridge Configuration
The Bridge configuration is where we decide what Bridge Assembly slots will be assigned to which E_AIMInstrument index positions.
Number of Instruments on this Bridge (enter 1 to 12)
Number of Instruments on this Bridge (enter 1 to 12)
These are READ ONLY, and indicate the Index range that the Bridge covers.
The only things that need to be configured for the Bridge are:
NumberOfInstruments – How many scales and Flowmeter will the Bridge have.
ENetCommunicationsEnable – It's either Ethernet/IP or ControlNet.
Press Space Bar When Ready to Continue

## Slide 9: IND780 Q.iMPACT: AIM versus Enhanced AIM - 2
Same basic Instrument structure available.
Addition of Bit Commands
Timeout Timer Added to Response Structure
Classic AIM
Enhanced AIM
If a Timeout occurs, puts a 100 into the Command Status
Identical
Press Space Bar When Ready to Continue

## Slide 10: IND780 Q.iMPACT: AIM versus Enhanced AIM - 3
Cyclic Data remains the same -- with some additions.
Press Space Bar When Ready to Continue

## Slide 11: IND780 Q.iMPACT: AIM versus Enhanced AIM - 4
Handshake structure is simplified
In both AIM's, set this bit to 1 to trigger a command that you have already set up with MOV instructions into the ".Command" structure.
Press Space Bar When Ready to Continue

## Slide 12: How to Trigger a Feed
Press Space Bar When Ready to Continue
Write the Material Path
Write the Command Number
Leave the Group and Overlap numbers set to zero (non-overlap)
Write the Target Weight
Write the + and - Tolerances
Latch the CDReady bit (Send Command)
Monitor the Command and Transfer Status words.
Monitor the Feed Complete bit

## Slide 13: Sample Feed Start Logic
Note how the logic is set up to execute the rung only once. A one-shot could also be used for this purpose.
Press Space Bar When Ready to Continue

## Slide 14: Sample Feed Monitoring Logic
After the feed is triggered, wait a short time to allow the feed to start before monitoring its progress.
Wait for the feed to be flagged as being complete
Make sure that the status values are in a good range. Otherwise, process the error.
Press Space Bar When Ready to Continue

## Slide 15: Useful links
Link to Sample PLC program used here
Link to IND780 Q.i Support Download Site on mt.com
Link to IND780 Q.i Configuration for Demo.zip
Configuration Files that can be loaded into an IND780 Q.i to make it work with the sample PLC program. Recommended to use the IND780 Q.i Dashboard "Restore Cluster" command to install the files. The IP address of the unit is assumed to be 192.168.0.1.
Scale Simulator Install
PC Scale Simulator. Allow a PC to simulate a running scale during a feed. You will need to install and run this program to run the Demo PLC program. Be sure to edit the configuration, and set the IP address of the IND780 unit in the simulator to match the IP address in the unit being used.
Press Space Bar When Ready to Continue

## Slide 16: THE END!